## Worksheet
CENTRAL NEGROS POWER RELIABILITY, INC.
|  | Purok San Jose, Brgy. Calumangan, Bago City | [5 empty] | SUMMARY OF RECIEVED MATERIALS
Tel. No. 476 - 7382
Period Covered: |  | TO | 2019-01-01 |  | FROM | 2019-01-31
Warehouse
Main Category |  |  |  | Sub-Category |  |  | Item Name
No. | Received Date |  | PR No. | Item Part No. |  | Item Description | Total Qty Received | UoM | Supplier | Department | Purpose | End Use
1 | 2019-01-31 |  | PR-524-2018 | EIC-PAR_1324 |  | Relay, Auxiliary with Socket, 10A, 250Vac, 10A, 30Vdc, 11 Pins, 3PDT, Coil: 24Vdc | 4 | pc/s | Best Electrical Components | EIC | Replacement | DG4
2 | 2019-01-31 |  | PR-2018-319-SP | FFE-SSE_1034 |  | Solar Aviation Obstruction Light, ICAO (Annex 14) Low Intensity Light Type A, LED, Red, Battery Capacity:3.6V/8AH NiHM, Vertical degree:>_ 10 Deg., Horizontal degree: 360 Deg., Flash Setting: 60 times/minute | 1 | unit/s | Powertechnic Lighting Inc. | Special Proj/Facilities Imp | Installation of AC Powered Navigational Warning Light Flashing(as per insurance requirement) | Microwave Antenna
3 | 2019-01-31 |  | FR-056-2019 | CON-CON_1035 |  | Holder, Electrode, 300A | 4 | pc/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Waste Heat Recovery Boilers Removal | Running Units - Sulzer
4 | 2019-01-31 |  | PR-531-2018 | BUI-PIP_1135 |  | Filter, Cartridge, PP Sediment, 20 Micron | 48 | pc/s | G.F.M. Filters & Pumps | Operation | Replacement | NALCO Water Softener Unit
5 | 2019-01-31 |  | PR-469-2018 | CON-FUE_1009 |  | Oxygen | 2 | cyl/s | Central Gas Corporation (CEGASCO) | Special Proj/Facilities Imp | Fabrication of Lifting Frame for 4 Units Generator | 4 Units Pielstick Generator
6 | 2019-01-31 |  | PR-469-2018 | CON-FUE_1009 |  | Oxygen | 8 | cyl/s | Central Gas Corporation (CEGASCO) | Special Proj/Facilities Imp | Fabrication of Lifting Frame for 4 Units Generator | 4 Units Pielstick Generator
7 | 2019-01-31 |  | PR-469-2018 | CON-FUE_1009 |  | Oxygen | 2 | cyl/s | Central Gas Corporation (CEGASCO) | Special Proj/Facilities Imp | Secondary Fire Exit | Powerhouse Building
8 | 2019-01-31 |  | EMF2019-016-E | CON-CON_1237 |  | Screw, Metal, 10mm x 1-1/2" | 40 | pc/s | Visayan Construction Supply | EIC | Transferring of Panel | DG3
9 | 2019-01-31 |  | EMF2019-016-E | CON-EIC_1063 |  | Tape, Vinyl, Electrical | 5 | roll/s | Visayan Construction Supply | EIC | Transferring of Panel | DG3
10 | 2019-01-31 |  | EMF2019-017-O | CON-MED_1035 |  | Mask, Dust | 10 | pc/s | Ace Hardware Philippines, Inc. - Bacolod Branch | Maintenance | Operations & Maintenance Consumables | Operations & Maintenance Consumables
11 | 2019-01-31 |  | EMF2019-018-S | BUI-HAR_1091 |  | Bolt, Hex, Full Thread, w/ Nut, M8 x 50mm | 4 | set/s | ISO Industrial Sales | Health and Safety | Replacement | Fire Safety
12 | 2019-01-31 |  | No PR Reference | CON-CHE_1011 |  | Bottle, Sampling 100mL | 72 | bot/s | Center of Reliability Excellence Laboratories Corporation | Laboratory and Chemical | Testing/Sampling | Out-of-House Oil Analysis
13 | 2019-01-31 |  | PR-021-2019 | CON-CON_1238 |  | Rope, Nylon, 1/2" | 22 | mtr/s | Visayan Construction Supply | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
14 | 2019-01-31 |  | FR-018-2019 | CON-CON_1239 |  | Nail, U | 8 | kg/s | A-One Industrial Sales | Special Proj/Facilities Imp | Erection of Temporary Perimeter Fence | Borromeo's Lot
15 | 2019-01-31 |  | H2O2019-0131 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 3 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
16 | 2019-01-31 |  | PR-024-2019 | CON-CHE_1065 |  | Water, Distilled, 1L | 4 | ltr/s | Samson Merchandising, Inc. | EIC | Housekeeping | Electrical Consumables
17 | 2019-01-30 |  | FR-030-2019 | FFE-PPE_1007 |  | Gloves, Working, Ma-ong | 24 | pair/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Equipment/Bulk Material Transfer/Re positioning | Facilities Improvement
18 | 2019-01-30 |  | PR-021-2019 | CON-EIC_1121 |  | Drill Bit, 1/8" | 30 | pc/s | A-One Industrial Sales | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
19 | 2019-01-30 |  | PR-053-2019 | CON-CON_1094 |  | Filler Rod, Bronze, 1/8" | 20 | kg/s | Greenlane Hardware and Construction Supply Inc | Maintenance | Operations & Maintenance Consumables | Running Units
20 | 2019-01-30 |  | PR-469-2018 | CON-CHE_1005 |  | Acetylene | 1 | cyl/s | Bacolod Oxygen Acetylene Gas Corp. | Special Proj/Facilities Imp | Fabrication of Lifting Frame for 4 Units Generator | 4 Units Pielstick Generator
21 | 2019-01-30 |  | PR-469-2018 | CON-CHE_1005 |  | Acetylene | 4 | cyl/s | Bacolod Oxygen Acetylene Gas Corp. | Special Proj/Facilities Imp | Fabrication of Lifting Frame for 4 Units Generator | 4 Units Pielstick Generator
22 | 2019-01-30 |  | PR-469-2018 | CON-CHE_1005 |  | Acetylene | 3 | cyl/s | Bacolod Oxygen Acetylene Gas Corp. | Special Proj/Facilities Imp | Secondary Fire Exit | Powerhouse Building
23 | 2019-01-30 |  | PR-515-2018 | CON-OEA_1029 |  | Bearing, Ball, 6308-2Z | 4 | pc/s | Bearing Center & Machinery Inc. | Operation | Replacement | Turning Gear Motor DG 1-3
24 | 2019-01-30 |  | FR-018-2019 | FFE-PPE_1007 |  | Gloves, Working, Ma-ong | 8 | pair/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Erection of Temporary Perimeter Fence | Borromeo's Lot
25 | 2019-01-30 |  | PR-028-2019 | CON-HOU_1035 |  | Rags, Cotton | 5 | kg/s | Procolors T-Shirts Printing | Operation | Servicing of Primary & Secondary Filters & Reconditioning of Fuel Injector | Running Units
26 | 2019-01-30 |  | PR-028-2019 | CON-HOU_1035 |  | Rags, Cotton | 2 | kg/s | Procolors T-Shirts Printing | Environment/PCO | Housekeeping | Environment and Pollution Control
27 | 2019-01-30 |  | PR-028-2019 | CON-HOU_1035 |  | Rags, Cotton | 10 | kg/s | Procolors T-Shirts Printing | EIC | Housekeeping | Electrical Consumables
28 | 2019-01-30 |  | HR-417-2018 | BUI-PIP_1305 |  | P-Trap, Hand Basin, 1-1/4 Inches | 1 | set/s | Visayan Construction Supply | Site HR | Repair and Maintenance | Male Common CR
29 | 2019-01-29 |  | H2O2019-0129 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
30 | 2019-01-29 |  | EMF2019-015-E | CON-CON_1236 |  | Paint, Spray, Quick Drying, Orange, 400cc | 2 | can/s | F.G. Cycle Parts & Hardware | EIC | Feeder Supply Station | Honing Machine
31 | 2019-01-29 |  | PROR-511-2018 | CON-FUE_1003 |  | Diesel | 40 | ltr/s | MTG Gasoline Service Station | Progen Warehouse | Identification, Pre-Cleaning & Tagging of Spare Parts for PIELSTICK Engine, at CV Area (Additional ) | CV Access Bay Area
32 | 2019-01-29 |  | PROR-511-2018 | CON-FUE_1003 |  | Diesel | 60 | ltr/s | MTG Gasoline Service Station | Operation | Servicing of Primary & Secondary Filters & Reconditioning of Fuel Injector | Running Units
33 | 2019-01-29 |  | PROR-511-2018 | CON-FUE_1003 |  | Diesel | 300 | ltr/s | MTG Gasoline Service Station | Special Proj/Facilities Imp | Consumption of Heavy Equipment (Bulk Transfer & Re-positioning) | Crane & Flat Bed Trailer
34 | 2019-01-29 |  | PROR-511-2018 | CON-FUE_1003 |  | Diesel | 40 | ltr/s | MTG Gasoline Service Station | CENPRI Warehouse | Refuel for Heavy Equipment | Heavy Equipment - Boomtruck and Forklift
35 | 2019-01-29 |  | PR-2018-228-E | CON-EIC_1129 |  | Hose, Flexible, Corrugated PVC, Conduit Size 1" Dia, Orange | 55 | mtr/s | Jast Marketing Co. | EIC | For Use In Common Bus Differential Fault & Breaker Failure Protection | Electrical Consumables
36 | 2019-01-29 |  | EMF2019-015-E | BUI-PIP_1302 |  | Pipe, UPVC, 1" Dia. ( 32mm x 2.0mm ) x 10 ft | 5 | lgth/s | Greenlane Hardware and Construction Supply Inc | EIC | Feeder Supply Station | Honing Machine
37 | 2019-01-28 |  | FR-056-2019 | FFE-PPE_1006 |  | Gloves, Welding, Long | 6 | pair/s | Visayan Construction Supply | Special Proj/Facilities Imp | Waste Heat Recovery Boilers Removal | Running Units - Sulzer
38 | 2019-01-28 |  | FR-056-2019 | CON-CON_1088 |  | Chalkstone/ Soapstone | 20 | pc/s | Visayan Construction Supply | Special Proj/Facilities Imp | Waste Heat Recovery Boilers Removal | Running Units - Sulzer
39 | 2019-01-28 |  | FR-056-2019 | CON-CON_1004 |  | Glass, Lens, Dark, #10 | 10 | pc/s | Visayan Construction Supply | Special Proj/Facilities Imp | Waste Heat Recovery Boilers Removal | Running Units - Sulzer
40 | 2019-01-28 |  | PR-024-2019 | CON-EIC_1069 |  | Tie, Cable, 3mm x 150mm | 50 | pc/s | Ace Hardware Philippines, Inc. - Bacolod Branch | EIC | Housekeeping | Electrical Consumables
41 | 2019-01-28 |  | PR-2018-228-E | EIC-PAR_1325 |  | Transformer, Window Type, Current, Ratio: 600:5, ACC, Class: 2.5, Burden: 90VA, Rating Factor: 1.5 | 3 | unit/s | Upshaw Industrial Corporation | EIC | For Use In Common Bus Differential Fault & Breaker Failure Protection | Electrical Consumables
42 | 2019-01-28 |  | PR-2018-228-E | EIC-PAR_1326 |  | Transformer, Window Type, Current, Ratio: 800:5, ACC, Class: 2.5, Burden: 90VA, Rating Factor: 1.5 | 9 | unit/s | Upshaw Industrial Corporation | EIC | For Use In Common Bus Differential Fault & Breaker Failure Protection | Electrical Consumables
43 | 2019-01-28 |  | PR-2018-228-E | EIC-PAR_1200 |  | THHN/ THWN, 2.0mm?, 600V, 90degC, Black | 900 | mtr/s | Upshaw Industrial Corporation | EIC | For Use In Common Bus Differential Fault & Breaker Failure Protection | Electrical Consumables
44 | 2019-01-28 |  | PR-2018-228-E | EIC-PAR_1327 |  | Terminal Lug, Fork, Insulated, Stud Size #16 (16-14)AWG | 100 | pc/s | Upshaw Industrial Corporation | EIC | For Use In Common Bus Differential Fault & Breaker Failure Protection | Electrical Consumables
45 | 2019-01-28 |  | CENJO-EM048-17 | AUX-PAR_1193 |  | Feed Pump,Chemical, 1.40lph at 16 Bars(232psi), 1-phase, 100-230 V, 50/60 Hz, 13 Watts, IP 66, Class F Insulation, With Accessories: Foot Valve W/Strainer, Injection Valve PVC, 5 Meters PE Tubing 6mm x 4mm, 2 Meters Soft PVC Tubing 6mm x 4mm | 1 | unit/s | Amaba Industrial Supplies | Operation | Pump For Bleach / Chlorine To Be Used In 3DTrasar | Cooling Tower Basin No. 2
46 | 2019-01-28 |  | PR-502-2018 | EIC-PAR_1293 |  | Strip Heater, Ceramic Insulated, Screw Type Terminal, Clamp-on, 1-1/2"W x 10.00" L | 5 | pc/s | Heatwave Industrial Sales | EIC | Spare Anti Condensate Heater for Generator Winding | Running Units - Sulzer
47 | 2019-01-28 |  | CENJO EM187-18 | ENG-PIE_1022 |  | O-ring, Fabricated, Nitrile,700mm(OD) x 681mm(ID) x 9.5mm(CS), for Lube Oil Cooler | 6 | pc/s | Manila Oil Seal Co. | Maintenance | Replacement | Lube Oil Cooler No. 5
48 | 2019-01-28 |  | CENJO EM187-18 | ENG-PIE_1023 |  | O-ring, Fabricated, Nitrile,700mm(OD) x 684mm(ID) x 8.0mm(CS), for Lube Oil Cooler | 6 | pc/s | Manila Oil Seal Co. | Maintenance | Replacement | Lube Oil Cooler No. 5
49 | 2019-01-26 |  | HR-512-2018 | CON-EIC_1127 |  | Bulb, LED, 14 Watts, 220-240 Volts | 1 | pc/s | Yousave Electrical Supply | CENPRI Warehouse | Replacement | Warehouse Building
50 | 2019-01-26 |  | PR-513-2018 | AUX-PAR_1099 |  | V-Belt, C-98 | 4 | pc/s | Nikko Industrial Parts Center | Operation | Replacement | Starting Air Compressor No. 5
51 | 2019-01-26 |  | FR-023-2019 | CON-CON_1122 |  | Paint, Primer, Metal, Red Oxide, 4L/gal | 2 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
52 | 2019-01-26 |  | FR-023-2019 | CON-CON_1188 |  | Paint, Enamel, Aluminum | 1 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
53 | 2019-01-26 |  | PR-2018-303-G | CON-FUE_1012 |  | Rimula R4X 15W-40, 20L/pail | 2 | pail/s | VCY Sales Corporation | Operation | Change Lubricating Oil | Auxiliary Generator
54 | 2019-01-26 |  | EMF2019-014-E | CON-HOU_1022 |  | Brush, Tube, Twisted, Nylon | 0 | pc/s | K-Mart | EIC | Servicing Generator | Generator Unit 2
55 | 2019-01-26 |  | EMF2019-014-E | CON-MED_1035 |  | Mask, Dust | 10 | pc/s | Ace Hardware Philippines, Inc. - Bacolod Branch | EIC | Servicing Generator | Generator Unit 2
56 | 2019-01-26 |  | EMF2019-014-E | CON-HOU_1022 |  | Brush, Tube, Twisted, Nylon | 6 | pc/s | K-Mart | EIC | Servicing Generator | Generator Unit 2
57 | 2019-01-25 |  | EMF2019-012-E | EIC-PAR_1174 |  | Terminal Lug, Ring, Stud Size #4 | 2 | pc/s | Yousave Electrical Supply | EIC | Body Base Effective Grounding Installation | Running Units
58 | 2019-01-25 |  | EMF201-013-SP | CON-CON_1234 |  | Rivets, Blind, Aluminum, 5/32" x 1/2" | 1 | box/s | VCY Sales Corporation | Special Proj/Facilities Imp | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
59 | 2019-01-25 |  | EMF201-013-SP | CON-CON_1235 |  | Drill Bit, 5/32" | 4 | pc/s | MB United Commercial | Special Proj/Facilities Imp | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
60 | 2019-01-25 |  | HR-049-2019 | CON-FUE_1003 |  | Diesel | 20 | ltr/s | MTG Gasoline Service Station | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
61 | 2019-01-25 |  | HR-049-2019 | CON-FUE_1004 |  | Gasoline | 10 | ltr/s | MTG Gasoline Service Station | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
62 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1119 |  | Notebooks, 40 Leaves | 25 | pc/s | New China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
63 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1070 |  | Pen, Ballpoint, Black | 1 | pc/s | New China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
64 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1121 |  | Manila Paper | 15 | pc/s | New China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
65 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1057 |  | Marker, Permanent, Fine, Black | 5 | pc/s | New China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
66 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1060 |  | Marker, White Board, Black | 8 | pc/s | New China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
67 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1082 |  | Tape, Cellophane, 2" | 3 | roll/s | Bacolod China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
68 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1120 |  | Paper, Special, Short, 20pcs/pack | 2 | pack/s | Bacolod China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
69 | 2019-01-25 |  | HR-049-2019 | CON-OFF_1064 |  | Paper, Bond, Long | 3 | ream/s | Bacolod China Mart | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
70 | 2019-01-25 |  | HR-049-2019 | CON-STA_1004 |  | LPG, Phoenix | 1 | cyl/s | CTMJ Gases Supply | Health and Safety | Fire Safety Training & Fire Drill | Fire Safety
71 | 2019-01-25 |  | HR-418-2018 | AUT-TRA_1005 |  | Brake Rotor Left / Right, Plate | 1 | pc/s | Genuine Mercantile Corporation | Health and Safety | Replacement | Service Vehicle Isuzu Crosswind Plate No. FFN706
72 | 2019-01-24 |  | ARG2019-0124 | CON-FUE_1001 |  | Argina S4 40 (Lube Oil) | 10 | drum/s | Prism Import-Export, Inc. | Fuel and Lube Management | Running Units Consumables | Running Units
73 | 2019-01-24 |  | HR-014-2019 | CON-EIC_1088 |  | Pipe, PVC, Electrical Conduit, 20 mm x 1/2" x 10ft | 20 | lgth/s | Yousave Electrical Supply | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
74 | 2019-01-24 |  | HR-014-2019 | EIC-PAR_1307 |  | Box, Junction, PVC, Hexagonal, 4" x 4", gauge 4 mm, Orange | 7 | pc/s | Yousave Electrical Supply | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
75 | 2019-01-24 |  | HR-014-2019 | EIC-PAR_1312 |  | Adapter, MxF, PVC, 1/2 inch, W/ Lock Nut | 30 | pc/s | Yousave Electrical Supply | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
76 | 2019-01-24 |  | HR-014-2019 | CON-EIC_1089 |  | Clamp, PVC, w/ Nail, 1/2" | 50 | pc/s | Yousave Electrical Supply | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
77 | 2019-01-24 |  | HR-014-2019 | CON-EIC_1063 |  | Tape, Vinyl, Electrical | 3 | roll/s | Yousave Electrical Supply | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
78 | 2019-01-24 |  | FR-023-2019 | CON-CON_1147 |  | Thinner, Acrylic, 4L/Gal | 1 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
79 | 2019-01-24 |  | FR-023-2019 | CON-CON_1147 |  | Thinner, Acrylic, 4L/Gal | 1 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Secondary Fire Exit | Powerhouse Building
80 | 2019-01-24 |  | FR-023-2019 | CON-CON_1121 |  | Paint, Primer, Epoxy, Gray, With Catalyst, 4L/gal | 1 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Secondary Fire Exit | Powerhouse Building
81 | 2019-01-24 |  | PR-475-2018 | CON-EIC_1127 |  | Bulb, LED, 14 Watts, 220-240 Volts | 3 | pc/s | Yousave Electrical Supply | Operation | Running Units Consumables | Operations & Maintenance Consumables
82 | 2019-01-24 |  | PR-475-2018 | CON-EIC_1128 |  | Bulb, LED, 7 Watts, 220-240 Volts | 3 | pc/s | Yousave Electrical Supply | Operation | Running Units Consumables | Operations & Maintenance Consumables
83 | 2019-01-24 |  | PR-024-2019 | CON-HOU_1040 |  | Soap, Liquid, All- Purpose | 1 | gal/s | TGA Chemical Enterprises | EIC | Housekeeping | Electrical Consumables
84 | 2019-01-24 |  | PR-024-2019 | CON-HOU_1040 |  | Soap, Liquid, All- Purpose | 1 | gal/s | TGA Chemical Enterprises | Environment/PCO | Housekeeping | Environment and Pollution Control
85 | 2019-01-24 |  | PR-024-2019 | CON-HOU_1059 |  | Soap, Special Powder | 5 | kg/s | TGA Chemical Enterprises | Environment/PCO | Housekeeping | Environment and Pollution Control
86 | 2019-01-24 |  | PR-480-2018 | BUI-HAR_1073 |  | Bolt, Hex, Full Thread, High Tensile, w/ Nut, M8 x 25mm x 1.25 Pitch | 150 | set/s | ISO Industrial Sales | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
87 | 2019-01-23 |  | FR-025-2019 | BUI-MAT_1161 |  | Cable Clips, Wire Rope, Ordinary, For 12mm Wire Rope | 6 | pc/s | Visayan Construction Supply | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
88 | 2019-01-23 |  | EMF2019-010-O | COM-POW_1002 |  | Bearing, #16004-A | 2 | pc/s | Bearing Center & Machinery Inc. | Maintenance | Replacement | Honing Machine
89 | 2019-01-23 |  | PR-501-2018 | BUI-PIP_1302 |  | Pipe, UPVC, 1" Dia. ( 32mm x 2.0mm ) x 10 ft | 8 | lgth/s | Yousave Electrical Supply | EIC | Use as Honing Machine Compressor Motor Feeder | Honing Machine Compressor Motor
90 | 2019-01-23 |  | PR-501-2018 | BUI-PIP_1303 |  | Coupling, UPVC, 1" Dia | 6 | pc/s | Yousave Electrical Supply | EIC | Use as Honing Machine Compressor Motor Feeder | Honing Machine Compressor Motor
91 | 2019-01-23 |  | PR-501-2018 | EIC-PAR_1052 |  | Connector, Straight, Rigid Conduit, LTFMC, 3/4" dia. | 9 | pc/s | Yousave Electrical Supply | EIC | Use as Honing Machine Compressor Motor Feeder | Honing Machine Compressor Motor
92 | 2019-01-23 |  | PR-527-2018 | CON-CHE_1057 |  | Salt, Industrial Grade, Purity 99.5%, 50k/bag (Sodium Chloride) | 500 | kg/s | Artemis Salt Corporation | Operation | Water Treatment | Running Units
93 | 2019-01-23 |  | EMF2019-011-S | CON-CON_1216 |  | Drill Bit, 3/16 Inch Diameter | 1 | pc/s | F.G. Cycle Parts & Hardware | Health and Safety | Installation of Smoke Detector | Safety
94 | 2019-01-23 |  | EMF2019-011-S | CON-CON_1231 |  | Drill Bit, Masonry, 1/4" | 1 | pc/s | F.G. Cycle Parts & Hardware | Health and Safety | Installation of Smoke Detector | Safety
95 | 2019-01-23 |  | EMF2019-011-S | CON-CON_1232 |  | Drill Bit, Masonry, 3/16" | 2 | pc/s | F.G. Cycle Parts & Hardware | Health and Safety | Installation of Smoke Detector | Safety
96 | 2019-01-23 |  | EMF2019-011-S | CON-CON_1233 |  | Screw, Metal, 10mm x 1/2" | 20 | pc/s | F.G. Cycle Parts & Hardware | Health and Safety | Installation of Smoke Detector | Safety
97 | 2019-01-23 |  | EMF2019-011-S | CON-CON_1163 |  | Tox, Plastic, # 8 | 20 | pc/s | F.G. Cycle Parts & Hardware | Health and Safety | Installation of Smoke Detector | Safety
98 | 2019-01-23 |  | EMF2019-011-S | CON-CON_1161 |  | Tox, Plastic, # 6 | 30 | pc/s | F.G. Cycle Parts & Hardware | Health and Safety | Installation of Smoke Detector | Safety
99 | 2019-01-23 |  | EMF2019-011-S | CON-CON_1230 |  | Screw, Metal , 6mm x 1" | 30 | pc/s | F.G. Cycle Parts & Hardware | Health and Safety | Installation of Smoke Detector | Safety
100 | 2019-01-23 |  | PR-501-2018 | EIC-PAR_1052 |  | Connector, Straight, Rigid Conduit, LTFMC, 3/4" dia. | 1 | pc/s | Yousave Electrical Supply | EIC | Use as Honing Machine Compressor Motor Feeder | Honing Machine Compressor Motor
101 | 2019-01-22 |  | PR-521-2018 | FFE-PPE_1008 |  | Googles, Safety, Transparent, Ordinary | 1 | pc/s | Bacolod Triumph Hardware | Laboratory and Chemical | Laboratory Use | Distillation Equipment
102 | 2019-01-22 |  | PROR-529-2018 | CON-HOU_1007 |  | Bag, Garbage, L | 20 | pc/s | Bacolod Triumph Depot | Progen Warehouse | Progen Consumables | Progen Warehouse
103 | 2019-01-22 |  | PR-033-2019 | CON-CON_1228 |  | Filler Rod, Silver | 10 | pc/s | Visayan Construction Supply | EIC | Body Base Effective Grounding Installation | Smoke Stack
104 | 2019-01-22 |  | PROR-529-2018 | CON-HOU_1030 |  | Gloves, Cotton | 12 | pair/s | Greenlane Hardware and Construction Supply Inc | Progen Warehouse | Progen Consumables | Progen Warehouse
105 | 2019-01-22 |  | PROR-529-2018 | CON-HOU_1018 |  | Brush, Steel | 5 | pc/s | Greenlane Hardware and Construction Supply Inc | Progen Warehouse | Progen Consumables | Progen Warehouse
106 | 2019-01-22 |  | PROR-529-2018 | CON-CON_1082 |  | Brush, Paint, 2" | 10 | pc/s | Greenlane Hardware and Construction Supply Inc | Progen Warehouse | Progen Consumables | Progen Warehouse
107 | 2019-01-22 |  | PROR-529-2018 | CON-HOU_1044 |  | Stretch Film, 20micron x 300mm x 150mtr | 4 | roll/s | Ace Hardware Philippines, Inc. - Bacolod Branch | Progen Warehouse | Progen Consumables | Progen Warehouse
108 | 2019-01-22 |  | FRM-RCT | CON-MED_1040 |  | Multivitamins, Vitamin C 500tabs/bot | 1 | bot/s | Donated by Sir RCT | Site HR | First Aid Treatment/Medication | CENPRI Employees
109 | 2019-01-22 |  | FRM-RCT | CON-MED_1013 |  | B-Complex, Super, 500 tabs/bot | 1 | bot/s | Donated by Sir RCT | Site HR | First Aid Treatment/Medication | CENPRI Employees
110 | 2019-01-22 |  | HR-007-2019 | CON-HOU_1037 |  | Sack, Empty | 60 | pc/s | Doods Sack Trading | Environment/PCO | Housekeeping | Environment and Pollution Control
111 | 2019-01-22 |  | PR-531-2018 | BUI-PIP_1135 |  | Filter, Cartridge, PP Sediment, 20 Micron | 2 | pc/s | G.F.M. Filters & Pumps | Operation | Replacement | NALCO Water Softener Unit
112 | 2019-01-22 |  | FR-023-2019 | CON-CON_1082 |  | Brush, Paint, 2" | 1 | pc/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
113 | 2019-01-22 |  | FR-023-2019 | CON-CON_1087 |  | Brush, Roller, Refill, 4" | 3 | pc/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
114 | 2019-01-22 |  | HR-014-2019 | CON-CON_1229 |  | Screw, Metal, 1/4" | 50 | pc/s | Jast Marketing Co. | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
115 | 2019-01-21 |  | H2O2019-0121 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 49 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
116 | 2019-01-21 |  | HR-519-2018 | CON-SAF_1003 |  | Fire Exit Sign, Reflectorized, Left, 30cm x 10cm | 10 | pc/s | MILCO MALCOLM MARKETING | Health and Safety | BOF Requirement of Bago City Government | Safety
117 | 2019-01-21 |  | HR-519-2018 | CON-SAF_1004 |  | Fire Exit Sign, Reflectorized, Right, 30cm x 10cm | 10 | pc/s | MILCO MALCOLM MARKETING | Health and Safety | BOF Requirement of Bago City Government | Safety
118 | 2019-01-21 |  | HR-519-2018 | CON-SAF_1005 |  | No Smoking Sign, 8.8" c 11" / 21.59cm x 27.94cm | 20 | pc/s | MILCO MALCOLM MARKETING | Health and Safety | BOF Requirement of Bago City Government | Safety
119 | 2019-01-21 |  | HR-014-2019 | CON-SAF_1006 |  | Cable, Fire Alarm & Smoke Detector, #16 / 7(1.25mm2) | 1 | roll/s | MILCO MALCOLM MARKETING | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
120 | 2019-01-21 |  | HR-014-2019 | FFE-SSE_1033 |  | Fire Alarm Bell, 24V, Conventional | 2 | pc/s | MILCO MALCOLM MARKETING | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
121 | 2019-01-19 |  | HR-014-2019 | FFE-SSE_1030 |  | Photoelectric Smoke Detector, 24V, Conventional | 4 | pc/s | Catcom Marketing | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
122 | 2019-01-19 |  | HR-014-2019 | FFE-SSE_1017 |  | Switch, Manual Call Point | 2 | pc/s | Catcom Marketing | Health and Safety | Additional Installation of automatic Fire Detection and Alarm(AFDAS) Admin Office | Fire Safety
123 | 2019-01-19 |  | HR-418-2018 | AUT-TRA_1005 |  | Brake Rotor Left / Right, Plate | 1 | pc/s | Genuine Mercantile Corporation | Health and Safety | Replacement | Service Vehicle Isuzu Crosswind Plate No. FFN706
124 | 2019-01-19 |  | EMF2019-009-E | CON-EIC_1123 |  | Body Filler | 1 | can/s | T5 Sum -ag Enterprises, Inc | EIC | Bus Differential Protection | Bus Differential Panel
125 | 2019-01-19 |  | EMF2019-009-E | CON-EIC_1124 |  | Rubbing Compound | 2 | pc/s | NTS Tires Supply | EIC | Bus Differential Protection | Bus Differential Panel
126 | 2019-01-19 |  | WHR-348-2018 | CON-OFF_1117 |  | ID Case, Plastic, Soft, Portrait, 10mm x 7mm | 500 | pc/s | Bacolod China Mart | CENPRI Warehouse | Office Supplies | CENPRI Warehouse Office
127 | 2019-01-19 |  | WHR-348-2018 | CON-OFF_1118 |  | Yarn, Lime Green / Apple Green | 3 | roll/s | Bacolod China Mart | CENPRI Warehouse | Office Supplies | CENPRI Warehouse Office
128 | 2019-01-19 |  | PR-501-2018 | EIC-PAR_1051 |  | Connector, Straight, Rigid Conduit, LTFMC, 1/2" dia. | 10 | pc/s | KLS Electrical Supply | EIC | Use as Honing Machine Compressor Motor Feeder | Honing Machine Compressor Motor
129 | 2019-01-19 |  | PR-521-2018 | CON-CHE_1071 |  | Gloves, Nitrile | 1 | box/s | Med Care Suplies | Laboratory and Chemical | Laboratory Use | Distillation Equipment
130 | 2019-01-19 |  | PR-509-2018 | FFE-PPE_1006 |  | Gloves, Welding, Long | 1 | pair/s | C.Y. Ong Multi-Distributor | EIC | Electrical Hand Tools for Personal Accountability | Electrical Handtools
131 | 2019-01-19 |  | PROR-529-2018 | TOO-HAN_1029 |  | Steel Tape, 5 meters | 1 | pc/s | Greenlane Hardware and Construction Supply Inc | Progen Warehouse | Progen Consumables | Progen Warehouse
132 | 2019-01-19 |  | PR-2018-315-E | CON-EIC_1125 |  | Battery, AA per pc | 8 | pc/s | New Llacer Electronics & Electrical Supply | EIC | EIC Consumables | Electrical Consumables
133 | 2019-01-19 |  | PROR-529-2018 | CON-CON_1130 |  | Sandpaper, G120 | 100 | sht/s | Visayan Construction Supply | Progen Warehouse | Progen Consumables | Progen Warehouse
134 | 2019-01-19 |  | PROR-529-2018 | CON-FUE_1010 |  | Penetrating Oil, Multi-Use | 5 | can/s | Visayan Construction Supply | Progen Warehouse | Progen Consumables | Progen Warehouse
135 | 2019-01-19 |  | PR-380-2018 | CON-EIC_1069 |  | Tie, Cable, 3mm x 150mm | 20 | pc/s | Ace Hardware Philippines, Inc. - Bacolod Branch | EIC | Consumables for Hauling, Cleaning and Sorting of Electrical Parts in CV Area | CV Access Bay Area
136 | 2019-01-19 |  | PR-380-2018 | CON-EIC_1126 |  | Tie, Cable, 5mm x 300mm | 20 | pc/s | Ace Hardware Philippines, Inc. - Bacolod Branch | EIC | Consumables for Hauling, Cleaning and Sorting of Electrical Parts in CV Area | CV Access Bay Area
137 | 2019-01-19 |  | PR-380-2018 | CON-EIC_1077 |  | Tie, Cable, 5mm x 350mm | 20 | pc/s | Ace Hardware Philippines, Inc. - Bacolod Branch | EIC | Consumables for Hauling, Cleaning and Sorting of Electrical Parts in CV Area | CV Access Bay Area
138 | 2019-01-19 |  | HR-418-2018 | FFE-SSE_1032 |  | Fire Extinguisher, Dry Chemical, ABC, 3lbs / 1.3kg, | 1 | cyl/s | Kelvin Nicoll Enterprises | Health and Safety | Replacement | Service Vehicle Isuzu Crosswind Plate No. FFN706
139 | 2019-01-18 |  | H2O2019-0118 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
140 | 2019-01-18 |  | PR-475-2018 | CON-HOU_1040 |  | Soap, Liquid, All- Purpose | 1 | gal/s | TGA Chemical Enterprises | Operation | Running Units Consumables | Operations & Maintenance Consumables
141 | 2019-01-18 |  | PR-475-2018 | CON-HOU_1040 |  | Soap, Liquid, All- Purpose | 1 | gal/s | TGA Chemical Enterprises | Operation | Operations & Maintenance Consumables | Running Units
142 | 2019-01-18 |  | PR-005-2019 | CON-HOU_1030 |  | Gloves, Cotton | 30 | pair/s | Greenlane Hardware and Construction Supply Inc | Operation | Operations & Maintenance Consumables | Running Units
143 | 2019-01-18 |  | PR-005-2019 | CON-HOU_1030 |  | Gloves, Cotton | 20 | pair/s | Greenlane Hardware and Construction Supply Inc | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
144 | 2019-01-18 |  | PR-005-2019 | CON-HOU_1018 |  | Brush, Steel | 10 | pc/s | Greenlane Hardware and Construction Supply Inc | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
145 | 2019-01-18 |  | PR-005-2019 | CON-CON_1087 |  | Brush, Roller, Refill, 4" | 20 | pc/s | Greenlane Hardware and Construction Supply Inc | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
146 | 2019-01-18 |  | PR-005-2019 | CON-CON_1082 |  | Brush, Paint, 2" | 6 | pc/s | Greenlane Hardware and Construction Supply Inc | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
147 | 2019-01-18 |  | PR-526-2018 | CON-EIC_1064 |  | Tape, Vinyl, Electrical, Big | 10 | roll/s | Jast Marketing Co. | EIC | EIC Consumables | Electrical Consumables
148 | 2019-01-18 |  | PROR-529-2018 | CON-FUE_1003 |  | Diesel | 40 | ltr/s | MTG Gasoline Service Station | Progen Warehouse | Progen Consumables | Progen Warehouse
149 | 2019-01-18 |  | PROR-529-2018 | CON-FUE_1003 |  | Diesel | 40 | ltr/s | MTG Gasoline Service Station | Operation | Operations & Maintenance Consumables | Running Units
150 | 2019-01-18 |  | 2018-270-C | CON-FUE_1015 |  | Belt Dressing, Specialist, 360ml | 1 | can/s | TMVG Multi-Sales, Inc. | Operation | Running Units Consumables | Running Units
151 | 2019-01-18 |  | PR-005-2019 | CON-FUE_1005 |  | Kerosene | 20 | ltr/s | Sum-ag Petron Gas Station | Operation | Operations & Maintenance Consumables | Running Units
152 | 2019-01-18 |  | HR-417-2018 | CON-CON_1224 |  | Faucet, Urinal | 2 | pc/s | Visayan Construction Supply | Site HR | Repair and Maintenance | Male Common CR
153 | 2019-01-18 |  | HR-417-2018 | CON-CON_1225 |  | Valve, Angle, 1/2" x 1/2" | 1 | pc/s | Visayan Construction Supply | Site HR | Repair and Maintenance | Male Common CR
154 | 2019-01-18 |  | HR-417-2018 | CON-CON_1226 |  | Hose, Flexible, 1/2" x 1/2" x 16" | 1 | pc/s | Visayan Construction Supply | Site HR | Repair and Maintenance | Male Common CR
155 | 2019-01-18 |  | HR-417-2018 | CON-CON_1227 |  | Faucet, Tap Water | 1 | pc/s | Visayan Construction Supply | Site HR | Repair and Maintenance | Male Common CR
156 | 2019-01-18 |  | HR-417-2018 | CON-CON_1146 |  | Tape, Polytetrafluroethlyne (PTFE), Industrial, 3/4" (Teflon) | 1 | roll/s | Visayan Construction Supply | Site HR | Repair and Maintenance | Male Common CR
157 | 2019-01-18 |  | PR-2018-240-E | EIC-PAR_1322 |  | AC Impedance tester for Generator Rotor, 220V/60Hz | 1 | unit/s | Kvtester Electronics Technology Co. Ltd | EIC | Testing Equipment | Running Units
158 | 2019-01-18 |  | PR-354-2018 | CON-CHE_1054 |  | NALCO 8457, (PO4 - Scale & Corrosion Inhibitor) | 34 | kg/s | Nalco Philippines Inc. | Operation | Water Treatment | Running Units
159 | 2019-01-18 |  | PR-354-2018 | CON-CHE_1049 |  | NALCO 19Pulv, (SO3 - Oxygen Scavenger) | 25 | kg/s | Nalco Philippines Inc. | Operation | Water Treatment | Running Units
160 | 2019-01-18 |  | PR-354-2018 | CON-CHE_1062 |  | TRAC 109, (Nitrite) | 279 | kg/s | Nalco Philippines Inc. | Operation | Water Treatment | Running Units
161 | 2019-01-17 |  | H2O2018-0117 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 10 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
162 | 2019-01-17 |  | HR-388-2018 | FFE-OFF_1021 |  | Battery, Laptop for ASUS K450C | 1 | pc/s | MF Computer Solution | IT Department | Replacement | Office Use
163 | 2019-01-17 |  | PR-528-2018 | BUI-MAT_1149 |  | Sheet, GI, Plain, 1 mm x 4 ft x 8 ft | 6 | sht/s | Bacolod Steel Center Corporation | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
164 | 2019-01-17 |  | PR-528-2018 | BUI-PIP_1183 |  | Pipe, GI, Sch40, 2" x 20 | 5 | lgth/s | Bacolod Steel Center Corporation | Site HR | Replacement | Smoke Stack
165 | 2019-01-17 |  | FR-017-2019 | BUI-MAT_1142 |  | Beam, I, 4" x 4" x 6 meters, 13lbs | 1 | lgth/s | Bacolod Triumph Hardware | Special Proj/Facilities Imp | Secondary Fire Exit | Powerhouse Building
166 | 2019-01-17 |  | FR-017-2019 | BUI-MAT_1085 |  | Purlins, C, 1.0mm x 2" x 3" x 20 ft | 4 | lgth/s | Bacolod Triumph Hardware | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
167 | 2019-01-17 |  | FR-017-2019 | BUI-MAT_1158 |  | Sheet, GI, Corrugated, 8 ft x 80 cm x Gauge 0.4 | 6 | sht/s | Bacolod Triumph Hardware | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
168 | 2019-01-17 |  | FR-017-2019 | BUI-MAT_1159 |  | Bar, Angle, MS, 1/4 " x 1-1/2" x 1-1/2" x 20 ft | 9 | lgth/s | Bacolod Triumph Hardware | Special Proj/Facilities Imp | Acetylene and Oxygen Enclosure End Use | Acetylene and Oxygen
169 | 2019-01-17 |  | PR-422-2018 | BUI-MAT_1160 |  | Bar, Angle, MS, 1/8"(3.5m) x 2" x 2" x 20 ft | 3 | lgth/s | Bacolod Triumph Hardware | Operation | Fabrication of Platform and Ladder | NALCO and SEM Water Softener
170 | 2019-01-17 |  | EMF2019-007-O | CON-CON_1101 |  | Paint and Varnish Remover, 4L/Gal | 1 | gal/s | Luis Paint Center | Operation | Painting Works | Running Units
171 | 2019-01-17 |  | 2018-EJF-025 | CON-STA_1002 |  | LPG, Gasulito | 1 | cyl/s | Pos Gasul Negros Occidental INC. | Site HR | Staff House Use | Staffhouse 2 - Jara
172 | 2019-01-17 |  | EMF2019-008-E | CON-EIC_1119 |  | Screw, MS 10 x 1-1/4" | 50 | pc/s | CLG Commercial Corporation | EIC | Grounding of Smoke Stacks | Running Units - Pielstick
173 | 2019-01-17 |  | EMF2019-008-E | CON-CON_1163 |  | Tox, Plastic, # 8 | 50 | pc/s | CLG Commercial Corporation | EIC | Grounding of Smoke Stacks | Running Units - Pielstick
174 | 2019-01-17 |  | EMF2019-008-E | CON-EIC_1120 |  | Screw, MS 4 x 1/2" | 2 | pc/s | CLG Commercial Corporation | EIC | Grounding of Smoke Stacks | Running Units - Pielstick
175 | 2019-01-17 |  | EMF2019-008-E | CON-CON_1159 |  | Tox, Plastic, # 4 | 2 | pc/s | CLG Commercial Corporation | EIC | Grounding of Smoke Stacks | Running Units - Pielstick
176 | 2019-01-17 |  | EMF2019-008-E | CON-EIC_1121 |  | Drill Bit, 1/8" | 1 | pc/s | CLG Commercial Corporation | EIC | Grounding of Smoke Stacks | Running Units - Pielstick
177 | 2019-01-17 |  | EMF2019-008-E | CON-EIC_1122 |  | Drill Bit, 1/4" | 1 | pc/s | CLG Commercial Corporation | EIC | Grounding of Smoke Stacks | Running Units - Pielstick
178 | 2019-01-16 |  | PR-433-2018 | CON-FUE_1010 |  | Penetrating Oil, Multi-Use | 2 | can/s | Visayan Construction Supply | EIC | EIC Consumables | Electrical Consumables
179 | 2019-01-16 |  | PR-433-2018 | CON-CON_1084 |  | Brush, Paint, 4" | 8 | pc/s | Visayan Construction Supply | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
180 | 2019-01-16 |  | HR-530-2018 | CON-CON_1147 |  | Thinner, Acrylic, 4L/Gal | 8 | gal/s | Sugarland Hardware Corp. | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
181 | 2019-01-16 |  | HR-530-2018 | CON-CON_1104 |  | Paint, Spray, Quick Drying, Medium Yellow, 400cc | 5 | can/s | Sugarland Hardware Corp. | Progen Warehouse | Inventory, Preservation, and Tagging | Progen Warehouse
182 | 2019-01-16 |  | HR-530-2018 | CON-CON_1114 |  | Paint, Heat Resistant, up to 1200deg F, Aluminum | 6 | gal/s | Luis Paint Center | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
183 | 2019-01-16 |  | HR-530-2018 | CON-CON_1127 |  | Rust Converter, 4L/gal | 10 | gal/s | Luis Paint Center | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
184 | 2019-01-16 |  | HR-530-2018 | CON-CON_1121 |  | Paint, Primer, Epoxy, Gray, With Catalyst, 4L/gal | 6 | gal/s | Sugarland Hardware Corp. | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
185 | 2019-01-15 |  | H2O2019-0115 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 20 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
186 | 2019-01-15 |  | H2O2019-0115 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 3 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
187 | 2019-01-15 |  | PROR-407-2018 | CON-HOU_1035 |  | Rags, Cotton | 20 | kg/s | Procolors T-Shirts Printing | Progen Warehouse | Inventory, Preservation, and Tagging | Progen Warehouse
188 | 2019-01-15 |  | PROR-407-2018 | CON-HOU_1035 |  | Rags, Cotton | 10 | kg/s | Procolors T-Shirts Printing | Progen Warehouse | Progen Consumables | Progen Warehouse
189 | 2019-01-15 |  | PROR-407-2018 | CON-HOU_1035 |  | Rags, Cotton | 10 | kg/s | Procolors T-Shirts Printing | Health and Safety | Repainting and Repair of Smock Stack Shade and Structural support | Smoke Stack
190 | 2019-01-15 |  | PROR-407-2018 | CON-HOU_1035 |  | Rags, Cotton | 10 | kg/s | Procolors T-Shirts Printing | Operation | Operations & Maintenance Consumables | Running Units
191 | 2019-01-14 |  | H2O2019-0114 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 20 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
192 | 2019-01-12 |  | PR-456-2018 | CON-HOU_1044 |  | Stretch Film, 20micron x 300mm x 150mtr | 1 | roll/s | Ace Hardware Philippines, Inc. - Bacolod Branch | EIC | EIC Consumables | Electrical Consumables
193 | 2019-01-12 |  | PROR-407-2018 | CON-OFF_1116 |  | Tape, Duct, Cloth Type, 1.89" x 27.35 yards | 3 | roll/s | Ace Hardware Philippines, Inc. - Bacolod Branch | Progen Warehouse | Inventory, Preservation, and Tagging | Progen Warehouse
194 | 2019-01-12 |  | CENJO EM006-19 | AUX-PAR_1192 |  | Sleeve, Shafting of Lube Oil Purifier No. 1 | 1 | pc/s | Eduard Metal Industries | Operation | Replacement | Lube Oil Purifier No. 1
195 | 2019-01-12 |  | EMF2019-006-E | EIC-PAR_1321 |  | SD Card, Sandisk, Ultra SDHC, 16GB, UHS1 48MBPS | 1 | pc/s | AMT Computer Solutions | EIC | Reprogramming | Generator Master Panel
196 | 2019-01-11 |  | FRM-RCT | CON-MED_1044 |  | Test Strip, for Glucometer | 50 | pc/s | Donated by Sir RCT | Site HR | First Aid Treatment/Medication | CENPRI Employees
197 | 2019-01-11 |  | PR-493-2018 | EIC-PAR_1319 |  | Lightning Discharge Counter, Cirpotec CDR-401, 100kA(10/350) Withstand Discharge Current, Analog Display, Easy Clip-on Installation, EN 50164-6, EN 62561-6 & UTE C 17106 Standard Certified, IP67 (NEMA 6P) Weather Proof Inclosure | 1 | pc/s | PowerPro Protection Supply, Inc. | EIC | For use in Lightning Strikes Monitoring, Interface on Microwave Antenna Lightning Protection System | Microwave Antenna
198 | 2019-01-11 |  | PR-474-2018 | CON-CON_1087 |  | Brush, Roller, Refill, 4" | 2 | pc/s | Greenlane Hardware and Construction Supply Inc | Operation | Construction of Sounding Port Platform | Settling and Service Tank
199 | 2019-01-11 |  | PR-474-2018 | CON-CON_1087 |  | Brush, Roller, Refill, 4" | 10 | pc/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
200 | 2019-01-11 |  | PR-2018-240-E | FFE-TES_1005 |  | Fluke 712 RTD Process Calibrator | 1 | unit/s | Progen Dieseltech Service Corp | EIC | Testing Equipment | Running Units
201 | 2019-01-11 |  | PR-2018-240-E | FFE-TES_1006 |  | OFIL Systems DayCor scalar UV Visible Bi-Spectral Compact Handheld Corona Detection Camera, With LCD Hood Cover, Battery Charger, Rechargeable Extended Batteries | 1 | unit/s | Progen Dieseltech Service Corp | EIC | Testing Equipment | Running Units
202 | 2019-01-11 |  | PR-479-2018 | BUI-PIP_1301 |  | Flange, Slip-on, BI, 4 Holes, 1-1/2", Class 150 | 10 | pc/s | New Yutek Hardware and Industrial Supply Corporation | Maintenance | Replacement | Boiler Water Intake
203 | 2019-01-11 |  | PR-2018-240-E | EIC-PAR_1320 |  | Ohmmeter, Digital Low Resistance, DLRO 10, 10A, With DH4-C Duplex Handspikes(x2), One With Indicator Lights, 1.2m / 4 ft | 1 | unit/s | Progen Dieseltech Service Corp | EIC | Testing Equipment | Running Units
204 | 2019-01-10 |  | 2018-307-SP | CON-CON_1218 |  | Paint, Epoxy Enamel Top Coat, International Red | 2 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
205 | 2019-01-10 |  | 2018-307-SP | CON-CON_1219 |  | Paint, Epoxy Enamel Top Coat, White | 1 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
206 | 2019-01-10 |  | 2018-307-SP | CON-CON_1219 |  | Paint, Epoxy Enamel Top Coat, White | 1 | gal/s | Sugarland Hardware Corp. | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
207 | 2019-01-10 |  | PROR-381-2018 | CON-OFF_1056 |  | Marker, Metal, Yellow | 2 | pc/s | Visayan Construction Supply | Progen Warehouse | Office Supplies | Office Use
208 | 2019-01-10 |  | HR-519-2018 | FFE-SSE_1018 |  | Emergency Light, Automatic, Rechargeable, LED, Swivel Bead, 220 VAC | 1 | unit/s | Catcom Marketing | Health and Safety | BOF Requirement of Bago City Government | Safety
209 | 2019-01-10 |  | HR-519-2018 | FFE-SSE_1018 |  | Emergency Light, Automatic, Rechargeable, LED, Swivel Bead, 220 VAC | 1 | unit/s | Catcom Marketing | Health and Safety | BOF Requirement of Bago City Government | Safety
210 | 2019-01-10 |  | HR-519-2018 | FFE-SSE_1018 |  | Emergency Light, Automatic, Rechargeable, LED, Swivel Bead, 220 VAC | 1 | unit/s | Catcom Marketing | Health and Safety | BOF Requirement of Bago City Government | Safety
211 | 2019-01-10 |  | PROR-529-2018 | CON-HOU_1054 |  | Plastic, Resealable, #10 | 100 | pc/s | Bacolod Plastic Supply | Progen Warehouse | Progen Consumables | Progen Warehouse
212 | 2019-01-10 |  | PROR-529-2018 | CON-HOU_1055 |  | Plastic, Resealable, #9 | 100 | pc/s | Bacolod Plastic Supply | Progen Warehouse | Progen Consumables | Progen Warehouse
213 | 2019-01-10 |  | PROR-529-2018 | CON-HOU_1056 |  | Plastic, Resealable, #7 | 100 | pc/s | Bacolod Plastic Supply | Progen Warehouse | Progen Consumables | Progen Warehouse
214 | 2019-01-10 |  | PROR-529-2018 | CON-HOU_1048 |  | Plastic, Resealable, #5 | 100 | pc/s | Bacolod Plastic Supply | Progen Warehouse | Progen Consumables | Progen Warehouse
215 | 2019-01-10 |  | PROR-529-2018 | CON-HOU_1049 |  | Plastic, Resealable, #12 | 100 | pc/s | CMC 417 Enterprises Corporation | Progen Warehouse | Progen Consumables | Progen Warehouse
216 | 2019-01-10 |  | 2018-EJF-0017 | CON-OFF_1054 |  | Logbook, 500-pages | 10 | pc/s | Bacolod China Mart | Operation | Operations & Maintenance Consumables | Operations & Maintenance Consumables
217 | 2019-01-10 |  | 2018-EJF-0017 | CON-OFF_1070 |  | Pen, Ballpoint, Black | 50 | pc/s | Bacolod China Mart | Operation | Operations & Maintenance Consumables | Operations & Maintenance Consumables
218 | 2019-01-10 |  | 2018-EJF-0017 | CON-OFF_1053 |  | Logbook, 300-pages | 3 | pc/s | New China Mart | Operation | Operations & Maintenance Consumables | Operations & Maintenance Consumables
219 | 2019-01-10 |  | FR-467-2018 | CON-CON_1221 |  | Shower Head | 1 | set/s | A-One Industrial Sales | Special Proj/Facilities Imp | Common Washing Area | CENPRI Employees
220 | 2019-01-10 |  | FR-467-2018 | CON-CON_1220 |  | Valve, Bras, Shower, 1/2" | 1 | pc/s | A-One Industrial Sales | Special Proj/Facilities Imp | Common Washing Area | CENPRI Employees
221 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1231 |  | Rubber Metal Cushion, Set of Spare For Drive, Westfalia Separator, 0021-3147-750 | 6 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
222 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1232 |  | Drive Belt, Set of Spare For Drive, Westfalia Separator, 0021-2943-890 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
223 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1177 |  | Clutch Shoe, Set of Spare for Drive, Westfalia Separator, 0021-2983-950 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
224 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1233 |  | Bearing , Ball, Grooved, Set of Spare For Drive, Westfalia Separator, 0011-6208-000 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
225 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1234 |  | Bearing, Ball, Angular Contact, Set of Spare For Drive, Westfalia Separator, 0011-7305-100 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
226 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1235 |  | Bearing, Ball, Grooved, Set of Spare For Drive, Westfalia Separator, 0011-6011-370 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
227 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1236 |  | Gasket, Set of Spare For Drive, Westfalia Separator, 0007-2646-750 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
228 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1237 |  | Gasket, Set of Spare For Drive, Westfalia Separator, 0007-2599-750 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
229 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1176 |  | Cushion, Rubber Metal, Westfalia Separator, 2048-1074-000 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
230 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1172 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2421-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
231 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1238 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-3349-840 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
232 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1239 |  | Screw, Allen, Set of Spare for Bowl, Westfalia Separator, 0019-6122-400 | 16 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
233 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1240 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-3469-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
234 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1241 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-3470-750 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
235 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1242 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2420-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
236 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1243 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2393-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
237 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1244 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2601-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
238 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1245 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-3348-840 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
239 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1246 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2572-750 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
240 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1247 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2608-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
241 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1248 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-1861-750 | 8 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
242 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1249 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2944-750 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
243 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1174 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-3153-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
244 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1251 |  | Gasket, Top Cover, Westfalia Separator, 0007-1936-750 | 4 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
245 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1253 |  | Gasket, Top Cover, Westfalia Separator, 0007-2620-750 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
246 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1255 |  | Gasket, Set of Spare for Bowl, Westfalia Separator, 0007-2124-750 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
247 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1256 |  | Set of Spare for Bowl, Westfalia Separator OSC15-0136 | 2 | set/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
248 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1257 |  | Set of Spare for Drive, Westfalia Separator OSC15-0136 | 2 | set/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
249 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1252 |  | Flow Meter, Top Cover, Westfalia Separator, 0-4000L/hr | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
250 | 2019-01-10 |  | PR-425-2018 | AUX-PAR_1254 |  | Gauge, Pressure, Top Cover, Westfalia Separator, 0001-0279-600 | 2 | pc/s | DMs Oil Purifier Services and Supply | Operation | Parts for Replacement for DG1 & DG3 Westfalia OSC15 Lube Oil Purifiers | Lube Oil Purifier - Common
251 | 2019-01-09 |  | 2018-309-SP | BUI-HAR_1071 |  | Washer, Plain, BI, 1" | 30 | pc/s | ISO Industrial Sales | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
252 | 2019-01-09 |  | 2018-309-SP | BUI-HAR_1072 |  | Washer, Lock , BI, 1" | 35 | pc/s | ISO Industrial Sales | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
253 | 2019-01-09 |  | 2018-309-SP | BUI-HAR_1070 |  | Bolts, Machined, High Tensile, Full Thread, Complete, ASTM A325 Type 3, 3/4" dia x 4" long | 40 | set/s | ISO Industrial Sales | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
254 | 2019-01-09 |  | PR-475-2018 | CON-CHE_1064 |  | Uniliq Multicleaner, water based | 1 | ltr/s | DMs Oil Purifier Services and Supply | Operation | Running Units Consumables | Operations & Maintenance Consumables
255 | 2019-01-09 |  | PR-475-2018 | CON-CHE_1064 |  | Uniliq Multicleaner, water based | 1 | ltr/s | DMs Oil Purifier Services and Supply | Operation | Running Units Consumables | Operations & Maintenance Consumables
256 | 2019-01-09 |  | PR-475-2018 | CON-CHE_1064 |  | Uniliq Multicleaner, water based | 19 | ltr/s | DMs Oil Purifier Services and Supply | Operation | Running Units Consumables | Operations & Maintenance Consumables
257 | 2019-01-09 |  | PR-475-2018 | CON-CHE_1064 |  | Uniliq Multicleaner, water based | 19 | ltr/s | DMs Oil Purifier Services and Supply | Operation | Running Units Consumables | Operations & Maintenance Consumables
258 | 2019-01-09 |  | HR-519-2018 | FFE-SSE_1028 |  | Fire Extinguisher, Dry Chemical, 10lbs, ABC | 1 | cyl/s | Firebase Industrial Supply & Services | Health and Safety | BOF Requirement of Bago City Government | Safety
259 | 2019-01-09 |  | PR-480-2018 | AUX-PAR_1097 |  | V-Belt | 9 | pc/s | Vencio Auto Supply | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
260 | 2019-01-09 |  | HR-519-2018 | FFE-SSE_1029 |  | Fire Extinguisher, CO2 (Carbon Dioxide), 10lbs | 2 | cyl/s | Luvimar Enterprises | Health and Safety | BOF Requirement of Bago City Government | Safety
261 | 2019-01-09 |  | HR-519-2018 | FFE-SSE_1018 |  | Emergency Light, Automatic, Rechargeable, LED, Swivel Bead, 220 VAC | 3 | unit/s | Catcom Marketing | Health and Safety | BOF Requirement of Bago City Government | Safety
262 | 2019-01-08 |  | H2O2019-0108 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
263 | 2019-01-08 |  | H2O2019-0108 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 2 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
264 | 2019-01-08 |  | PR-2018-233-C | CON-HOU_1058 |  | Foam, 2" Thick x 36" Width x 75" Length | 1 | sht/s | All Foam & Beyond | Operation | Operations & Maintenance Consumables | Operations & Maintenance Consumables
265 | 2019-01-08 |  | PROR-506-2018 | CON-FUE_1014 |  | Tellus S2 M68, 20 L | 1 | pail/s | VCY Sales Corporation | Progen Warehouse | Replacement | Heavy Equipment - Forklift
266 | 2019-01-08 |  | 2018-137-C | CON-CON_1030 |  | Electrode, Welding, 1/8" x E7018 | 40 | kg/s | Bacolod Triumph Hardware | Special Proj/Facilities Imp | Waste Heat Recovery Boilers Removal | Running Units - Sulzer
267 | 2019-01-08 |  | 2018-137-C | CON-CON_1030 |  | Electrode, Welding, 1/8" x E7018 | 40 | kg/s | Bacolod Triumph Hardware | Maintenance | Generator Sliding Tools for Sulzer | Running Units - Sulzer
268 | 2019-01-08 |  | 2018-137-C | CON-CON_1030 |  | Electrode, Welding, 1/8" x E7018 | 60 | kg/s | Bacolod Triumph Hardware | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
269 | 2019-01-07 |  | PROR-407-2018 | CON-CON_1093 |  | Emery Cloth, # 600, Aluminum Oxide, TJ113 ( JB-5 ) | 0.28 | mtr/s | Armak Abraisive Products, Inc | Progen Warehouse | Inventory, Preservation, and Tagging | Progen Warehouse
270 | 2019-01-07 |  | FR-343-2018 | CON-CON_1194 |  | Rope, Nylon, 15mm | 30 | mtr/s | A-One Industrial Sales | Special Proj/Facilities Imp | Replacement | Powerhouse Building
271 | 2019-01-07 |  | PR-475-2018 | CON-FUE_1005 |  | Kerosene | 20 | ltr/s | Sum-ag Petron Gas Station | Operation | Running Units Consumables | Operations & Maintenance Consumables
272 | 2019-01-07 |  | PROR-506-2018 | CON-FUE_1003 |  | Diesel | 60 | ltr/s | MTG Gasoline Service Station | Progen Warehouse | Replacement | Heavy Equipment - Forklift
273 | 2019-01-07 |  | PROR-506-2018 | CON-FUE_1003 |  | Diesel | 20 | ltr/s | MTG Gasoline Service Station | Operation | Reconditioning | Running Units
274 | 2019-01-07 |  | PROR-506-2018 | CON-FUE_1003 |  | Diesel | 70 | ltr/s | MTG Gasoline Service Station | Progen Warehouse | Inventory, Preservation, and Tagging | Progen Warehouse
275 | 2019-01-07 |  | 2018-EJF-008 | FFE-COM_1010 |  | Basic Cellular Phone | 1 | unit/s | Powerhouse Dist. Inc / Samsung | CENPRI Warehouse | Office Communication Equipment | CENPRI Warehouse Office
276 | 2019-01-07 |  | PR-2018-240-E | EIC-PAR_1317 |  | Microlog W/ Accessories, CMXA 75-K-SL / CMSW7300 | 1 | unit/s | W & L Trading Corporation | EIC | Testing Equipment | Running Units
277 | 2019-01-07 |  | PR-502-2018 | CON-CON_1008 |  | Disc, Cutting, 4" x 3/32" x 5/8" | 10 | pc/s | Visayan Construction Supply | EIC | Spare Anti Condensate Heater for Generator Winding | Running Units - Sulzer
278 | 2019-01-07 |  | PR-480-2018 | CON-CON_1222 |  | Paint, Epoxy Enamel, Battleship Gray | 2 | gal/s | Sugarland Hardware Corp. | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
279 | 2019-01-07 |  | PROR-407-2018 | CON-HOU_1044 |  | Stretch Film, 20micron x 300mm x 150mtr | 2 | roll/s | Ace Hardware Philippines, Inc. - Bacolod Branch | Progen Warehouse | Inventory, Preservation, and Tagging | Progen Warehouse
280 | 2019-01-07 |  | PROR-511-2018 | CON-HOU_1030 |  | Gloves, Cotton | 40 | pair/s | Greenlane Hardware and Construction Supply Inc | Progen Warehouse | Identification, Pre-Cleaning & Tagging of Spare Parts for PIELSTICK Engine, at CV Area (Additional ) | CV Access Bay Area
281 | 2019-01-07 |  | PROR-511-2018 | CON-HOU_1030 |  | Gloves, Cotton | 8 | pair/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
282 | 2019-01-07 |  | PR-2018-254-G | CON-CON_1223 |  | Drill Bit, Metal, 14mm | 2 | pc/s | Visayan Construction Supply | Maintenance | Generator Sliding Tools for Sulzer | Running Units - Sulzer
283 | 2019-01-07 |  | 432-2018 | TOO-HAN_1028 |  | Pipe Tap, 1/2" NPT | 1 | pc/s | Golden Gate Hardware | Maintenance | Replacement | Lube Oil Cooler No. 5
284 | 2019-01-05 |  | 2018-270-C | CON-HOU_1040 |  | Soap, Liquid, All- Purpose | 1 | gal/s | TGA Chemical Enterprises | Operation | Running Units Consumables | Running Units
285 | 2019-01-05 |  | 2018-270-C | CON-HOU_1040 |  | Soap, Liquid, All- Purpose | 2 | gal/s | TGA Chemical Enterprises | Progen Warehouse | Inventory, Preservation, and Tagging | Progen Warehouse
286 | 2019-01-05 |  | ARG2019-0105 | CON-FUE_1001 |  | Argina S4 40 (Lube Oil) | 10 | drum/s | Prism Import-Export, Inc. | Fuel and Lube Management | Running Units Consumables | Running Units
287 | 2019-01-05 |  | EMF2019-005-E | FFE-SSE_1027 |  | Padlock, Ordinary | 1 | set/s | T5 Sum -ag Enterprises, Inc | EIC | Security Lock | HFO Settling & Service Tanks
288 | 2019-01-05 |  | EMF2019-004-E | EIC-PAR_1090 |  | Pipe, Rigid Steel Conduit, 1" | 3 | lgth/s | Yousave Electrical Supply | EIC | Power Supply | Microwave Panel
289 | 2019-01-05 |  | EMF2019-004-E | BUI-PIP_1300 |  | Bolt, U, Complete, 1" x 1/4" dia. | 5 | set/s | ISO Industrial Sales | EIC | Power Supply | Microwave Panel
290 | 2019-01-04 |  | PR-475-2018 | CON-CON_1190 |  | Welding Cutting Tip, 1 | 4 | pc/s | Visayan Construction Supply | Operation | Running Units Consumables | Operations & Maintenance Consumables
291 | 2019-01-04 |  | PROR-506-2018 | AUT-HEA_1009 |  | Bulb, Headlight, Halogen, 12V, 55W | 2 | pc/s | The Hunter Motor Co. | Progen Warehouse | Replacement | Heavy Equipment - Forklift
292 | 2019-01-04 |  | 2018-034-FM | CON-FUE_1008 |  | Omala S2 G 220 | 3 | pail/s | VCY Sales Corporation | Operation | Lubricant Consumable for Plant Equipment ( Barring Gear, Lube Oil & Heavy Fuel Oil Purifier ) | Running Units
293 | 2019-01-04 |  | FR-467-2018 | BUI-MAT_1157 |  | Grout, Tile, White, 2kgs/sachet | 1 | pack/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Common Washing Area | CENPRI Employees
294 | 2019-01-03 |  | PR-480-2018 | CON-CON_1082 |  | Brush, Paint, 2" | 2 | pc/s | Greenlane Hardware and Construction Supply Inc | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
295 | 2019-01-03 |  | PR-480-2018 | CON-CON_1082 |  | Brush, Paint, 2" | 3 | pc/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
296 | 2019-01-03 |  | PR-480-2018 | CON-CON_1082 |  | Brush, Paint, 2" | 1 | pc/s | Greenlane Hardware and Construction Supply Inc | EIC | Renovation of All Electrical Outlet and Lan Cable | Bacolod Office
297 | 2019-01-03 |  | PR-480-2018 | CON-CON_1085 |  | Brush, Roller 4", w/ Handle | 1 | pc/s | Greenlane Hardware and Construction Supply Inc | EIC | Renovation of All Electrical Outlet and Lan Cable | Bacolod Office
298 | 2019-01-03 |  | PR-454-2018 | AUX-PAR_1191 |  | Bearing, Ball, Shielded, 6308.2ZR | 4 | pc/s | Bearing Center & Machinery Inc. | Operation | Replacement of Damaged and Worn-out Parts | Boiler Circulating Pump and Motor Units 3 and 4
299 | 2019-01-03 |  | PR-480-2018 | CON-OEA_1028 |  | Bearing, Pillow Block, 1 11/16 Inches ID | 6 | pc/s | Bearing Center & Machinery Inc. | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
300 | 2019-01-03 |  | FR-390-2018 | CON-HOU_1030 |  | Gloves, Cotton | 15 | pair/s | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | Purifier House Enclosure - North Side | Fuel Farm
301 | 2019-01-03 |  | PR-480-2018 | CON-CON_1217 |  | Rivets, Blind, 3/16 Inch Diameter x 1/2 Inch | 1 | box/s | Visayan Construction Supply | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
302 | 2019-01-03 |  | PR-480-2018 | CON-CON_1216 |  | Drill Bit, 3/16 Inch Diameter | 3 | pc/s | Visayan Construction Supply | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
303 | 2019-01-03 |  | 380-2018 | CON-MED_1035 |  | Mask, Dust | 12 | pc/s | Visayan Construction Supply | EIC | EIC Consumables | Electrical Consumables
304 | 2019-01-03 |  | PR-480-2018 | CON-CON_1101 |  | Paint and Varnish Remover, 4L/Gal | 1 | gal/s | Sugarland Hardware Corp. | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
305 | 2019-01-03 |  | PR-480-2018 | CON-CON_1029 |  | Electrode, Welding, 1/8" x E6013 | 5 | kg/s | Visayan Construction Supply | Maintenance | Reconditioning | 3 Units Exhaust Fan ( MCI )
306 | 2019-01-03 |  | PROR-511-2018 | CON-CON_1130 |  | Sandpaper, G120 | 100 | sht/s | Visayan Construction Supply | Progen Warehouse | Identification, Pre-Cleaning & Tagging of Spare Parts for PIELSTICK Engine, at CV Area (Additional ) | CV Access Bay Area
307 | 2019-01-03 |  | PR-422-2018 | CON-CON_1121 |  | Paint, Primer, Epoxy, Gray, With Catalyst, 4L/gal | 1 | gal/s | Sugarland Hardware Corp. | Operation | Fabrication of Platform and Ladder | NALCO and SEM Water Softener
308 | 2019-01-03 |  | PR-2018-320-C | CON-CON_1050 |  | Screw, Self-Drilling, 8mm x 2", (Tek Screw) | 4 | box/s | Greenlane Hardware and Construction Supply Inc | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
309 | 2019-01-03 |  | PR-2018-320-C | CON-CON_1142 |  | Sealant, Silicon | 4 | tube/s | Greenlane Hardware and Construction Supply Inc | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
310 | 2019-01-03 |  | PR-2018-320-C | CON-CON_1035 |  | Holder, Electrode, 300A | 1 | pc/s | Greenlane Hardware and Construction Supply Inc | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
311 | 2019-01-03 |  | PR-2018-320-C | CON-CON_1001 |  | Glass, Clear | 1 | pc/s | Greenlane Hardware and Construction Supply Inc | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
312 | 2019-01-03 |  | PR-2018-320-C | CON-CON_1004 |  | Glass, Lens, Dark, #10 | 2 | pc/s | Greenlane Hardware and Construction Supply Inc | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
313 | 2019-01-03 |  | PR-2018-320-C | CON-CON_1004 |  | Glass, Lens, Dark, #10 | 6 | pc/s | Greenlane Hardware and Construction Supply Inc | Operation | Running Units Consumables | Operations & Maintenance Consumables
314 | 2019-01-03 |  | EMF2019-003-E | CON-EIC_1118 |  | Tape, Electrical, Rubber, Self Fusing | 2 | roll/s | Yousave Electrical Supply | EIC | Re-Insulation of Jacket Water Motor in 4 Termination | Jacket Water Pump Motor No.4
315 | 2019-01-03 |  | EMF2019-003-E | CON-EIC_1063 |  | Tape, Vinyl, Electrical | 3 | roll/s | Yousave Electrical Supply | EIC | Re-Insulation of Jacket Water Motor in 4 Termination | Jacket Water Pump Motor No.4
316 | 2019-01-02 |  | PR-460-2018 | TOO-HAN_1027 |  | Hole Saw Set, 3pc, Arbor 3/8 inch Shank, Flat Bit 7/8 inch, Hole Saw 2-1/2 inches | 1 | set/s | Visayan Construction Supply | EIC | Renovation of All Electrical Outlet and Lan Cable | Bacolod Office
317 | 2019-01-02 |  | PR-460-2018 | CON-CON_6374 |  | Screw, Wood, 3/16 x 1" | 70 | pc/s | Visayan Construction Supply | EIC | Renovation of All Electrical Outlet and Lan Cable | Bacolod Office
318 | 2019-01-02 |  | PR-460-2018 | CON-CON_1084 |  | Brush, Paint, 4" | 1 | pc/s | Visayan Construction Supply | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
319 | 2019-01-02 |  | PR-460-2018 | CON-CON_1148 |  | Thinner, Lacquer | 3 | gal/s | Visayan Construction Supply | Special Proj/Facilities Imp | Microwave Antenna Support Structure | Microwave Antenna
320 | 2019-01-02 |  | H2O2018-0102 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | Marhil Spring | Site HR | Hydration | CENPRI Employees
321 | 2019-01-02 |  | PR-2018-320-C | CON-CON_1215 |  | Rockwool Blanket , With Wire Mesh, 4" Thick, Size: 100mm T x 600mm W x 2.5 Meter L, Density : 60 kgs / cubic, 121 Square Meter is Equivalent To 81 Rolls | 81 | roll/s | Excelsior Sevenfold Trade Corp | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
322 | 2019-01-02 |  | PR-470-2018 | BUI-MAT_1154 |  | Beam, I, 6 Inches x 6 Inches x 20 ft, 25lbs | 5 | lgth/s | Bacolod Steel Center Corporation | Special Proj/Facilities Imp | Fabrication of Lifting Frame for 4 Units Generator | 4 Units Pielstick Generator
323 | 2019-01-02 |  | PR-2018-320-C | BUI-MAT_1155 |  | Bar, Flat, MS, Standard, 1 Inch x 1/8 inch Thick x 20 ft | 30 | lgth/s | Bacolod Steel Center Corporation | Operation | Insulation of HFO Settling & Service Tanks | HFO Settling & Service Tanks
324 | 2019-01-02 |  | EMF2019-002-E | CON-EIC_1011 |  | Battery, AA | 1 | pack/s | KJ Fairmart Inc. | EIC | Replacement | Wire Marker Device
325 | 2019-01-02 |  | EMF2019-002-E | CON-EIC_1011 |  | Battery, AA | 1 | pack/s | KJ Fairmart Inc. | EIC | Replacement | Wire Marker Device
326 | 2019-01-02 |  | EMF2019-001-E | EIC-PAR_1315 |  | Box, Pull, PVC, 6" x 6" | 1 | pc/s | CLG Commercial Corporation | EIC | Microwave DC Supply Termination | Battery Charger
Prepared By: |  |  | Checked By: |  | Approved By:
Warehouse Personnel |  |  | Warehouse Supervisor |  | Plant Director/Plant Manager