## Worksheet
CENTRAL NEGROS POWER RELIABILITY, INC.
|  | Purok San Jose, Brgy. Calumangan, Bago City | [5 empty] | SUMMARY OF RECIEVED MATERIALS
Tel. No. 476 - 7382
Period Covered: |  | TO | 2020-03-01 |  | FROM | 2020-04-22
Warehouse
Main Category |  |  |  | Sub-Category |  |  | Item Name
No. | Received Date |  | PR No. | Item Part No. |  | Item Description | Total Qty Received | UoM | Unit Cost | Total Cost | Supplier | Department | Purpose | End Use
1 | 2020-03-03 |  | OPE20-1043 | AUX-PAR_1203 |  | EPC41 Card, Good Condition | 1 | unit/s | 170000 | 170000 | DMs Oil Purifier Services and Supply | Operation | Replacement | HFO Separator Unit 1 & LOP Unit 5 Heatpac
2 | 2020-03-07 |  | Mai20-1248 | AUX-PAR_1269 |  | Bearing, Ball, 6310 N/C3, w/ Snap Ring | 1 | pc/s | 1400 | 1400 | Bearing Center & Machinery Inc. | Maintenance | Replacement | Running Units
3 | 2020-03-07 |  | Mai20-1248 | AUX-PAR_1270 |  | Bearing, Ball, 6410 C3 | 1 | pc/s | 1764 | 1764 | Bearing Center & Machinery Inc. | Maintenance | Replacement | Running Units
4 | 2020-03-02 |  | OPE20-1238 | AUX-PAR_1297 |  | O-ring, 3mm x 15mm, (as per sample) | 2 | pc/s | 12 | 24 | CAR-V Industrial Sales | Operation | Replacement | Running Units
5 | 2020-03-02 |  | OPE20-1238 | AUX-PAR_1298 |  | O-ring, 2mm x 11mm, (as per sample) | 2 | pc/s | 18 | 36 | CAR-V Industrial Sales | Operation | Replacement | Running Units
6 | 2020-03-03 |  | OPE20-1043 | AUX-PAR_1299 |  | Triac, Alfa Laval Heatpac, 380VAC, Part No: 3183034211 | 1 | unit/s | 40000 | 40000 | DMs Oil Purifier Services and Supply | Operation | Replacement | HFO Separator Unit 1 & LOP Unit 5 Heatpac
7 | 2020-03-05 |  | OPE19-1008 | AUX-PAR_1300 |  | Gauge, Pressure, 4-1/2" Dial Face, 1/2" NPT, 0-1600 Bar, Model: 451109SD-04L-XLL | 1 | pc/s | 38500 | 38500 | Stellite Commercial, Inc | Operation | Cylinder Head Hydraulic Tensioning Tool. | Mechanical Tools
8 | 2020-04-01 |  | OPE19-1017 | AUX-PAR_1301 |  | Sheet, Screen, SS T304, Perforated, 1.0 mm thick x 5 mm dia x 4ft x 8ft | 1 | sht/s | 6000 | 6000 | Golden Dragon Metal Products, Inc. | Operation | Installation of Y-Strainers and Check Valves | Raw Water System
9 | 2020-03-10 |  | HAS19-1067 | BUI-HAR_1015 |  | Bolt, Expansion, 1/2" | 6 | pc/s | 24.25 | 145.5 | Greenlane Hardware and Construction Supply Inc | Health and Safety | Installation Of Electrical Main Distribution Panel For Auxiliary Load | Power Supply For Canteen, Dorms, Perimeter Lighting, Welding Machine & Guardhouse
10 | 2020-03-14 |  | HRS20-1078 | BUI-MAT_1017 |  | Bar, Steel, Deformed/Corrugated, 10mm | 9 | lgth/s | 132.75 | 1194.75 | Bacolod Mindanao Lumber and Plywood | Site HR | Repair of Mechanical Staff House at Plant Site | CENPRI Employees
11 | 2020-04-20 |  | PR-096-2019 | BUI-MAT_1023 |  | Cement | 4 | bag/s | 0 | 0 | Bacolod Triumph Hardware | Operation | Additional Layer for Cooling Tower Extension Concrete Manhole | Cooling Tower Common
12 | 2020-03-14 |  | HRS20-1078 | BUI-MAT_1023 |  | Cement | 12 | bag/s | 198 | 2376 | Bacolod Triumph Hardware | Site HR | Repair of Mechanical Staff House at Plant Site | CENPRI Employees
13 | 2020-03-07 |  | SPE20-1233 | BUI-MAT_1087 |  | Purlins, C, 1.0mm x 2" x 6" x 20 ft | 7 | lgth/s | 468.9 | 3282.3 | Bacolod Steel Center Corporation | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
14 | 2020-03-14 |  | HRS20-1078 | BUI-MAT_1253 |  | Hardiflex board, 1/4" x 4ft x 8ft | 11 | sht/s | 450 | 4950 | Visayan Construction Supply | Site HR | Repair of Mechanical Staff House at Plant Site | CENPRI Employees
15 | 2020-03-11 |  | SPE20-1233 | BUI-MAT_1253 |  | Hardiflex board, 1/4" x 4ft x 8ft | 20 | sht/s | 450 | 9000 | Visayan Construction Supply | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
16 | 2020-03-04 |  | SPE20-1233 | BUI-MAT_1254 |  | Bar, Steel, Deformed/Corrugated, 8mm x 20 ft | 6 | lgth/s | 69.5 | 417 | Bacolod Triumph Hardware | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
17 | 2020-03-10 |  | OPE20-1047 | BUI-PIP_1371 |  | Flow Meter, 2" (50mm), Cast Iron, Body Flange Type, w/bolts nuts and gaskets, 10 Bars, | 2 | unit/s | 12996 | 25992 | Goal Team Trading | Operation | Installation | Cooling Tower Common
18 | 2020-03-10 |  | OPE20-1047 | BUI-PIP_1372 |  | Strainer, For, Flow Meter, 2" (50mm), Cast Iron, Body Flange Type, w/bolts nuts and gaskets, 10 Bars, | 2 | unit/s | 6800 | 13600 | Goal Team Trading | Operation | Installation | Cooling Tower Common
19 | 2020-03-10 |  | MAI19-1091 | COM-POW_1007 |  | Carbide Bit, Three Pointed Shape, 3/8" | 1 | pc/s | 1290 | 1290 | Bacolod National Trading | Maintenance | Repair of Left and Right Bank Air Duct | DG3
20 | 2020-03-10 |  | MAI19-1091 | COM-POW_1010 |  | Carbide Bit, Cylindrical Radius, 1/2" | 1 | pc/s | 1506 | 1506 | Bacolod National Trading | Maintenance | Repair of Left and Right Bank Air Duct | DG3
21 | 2020-03-12 |  | No PR Reference | CON-CHE_1011 |  | Bottle, Sampling 100mL | 72 | bot/s | 0 | 0 | Center for Reliability Excellence Laboratories Corporation | Laboratory and Chemical | Testing/Sampling | Out-of-House Oil Analysis
22 | 2020-03-10 |  | OPE_MAI20-1050 | CON-CHE_1064 |  | Uniliq Multicleaner, water based | 20 | ltr/s | 350 | 7000 | DMs Oil Purifier Services and Supply | Operation | Operations & Maintenance Consumables | Running Units
23 | 2020-03-17 |  | EMF2020-022-E | CON-CHE_1065 |  | Water, Distilled, 1L | 6 | ltr/s | 25 | 150 | MGNR Hardware & Construction Supply | EIC | Replacement Part & Consumables For Battery Banks | DC System
24 | 2020-03-17 |  | EMF2020-024-E | CON-CHE_1068 |  | Racumin, ready made | 1 | pack/s | 64.9 | 64.9 | K-Mart | EIC | Pest Control | Switch Gear Room
25 | 2020-03-17 |  | EMF2020-024-E | CON-CHE_1068 |  | Racumin, ready made | 1 | pack/s | 59.95 | 59.95 | KJ Fairmart Inc. | EIC | Pest Control | Switch Gear Room
26 | 2020-03-10 |  | EIC20-1199 | CON-CHE_1070 |  | Water, Distilled, 1 Quart | 4 | bot/s | 10 | 40 | Samson Merchandising, Inc. | EIC | EIC Consumables | Electrical Consumables
27 | 2020-03-20 |  | CENJO-EM004-20 | CON-CHE_1072 |  | CHEM-AQUA 31155 (C777), 210LT/DM, APC, CA, Scale and Corrosion Inhibitor | 210 | ltr/s | 371.57 | 78029.7 | NCH Philippines Inc. | Operation | Water Treatment | Cooling Tower Basin No. 2
28 | 2020-03-20 |  | CENJO-EM004-20 | CON-CHE_1075 |  | MB-60B (4615), 4KG/DM, APC, CA, Oxidizing Biocide | 8 | pack/s | 4627.28 | 37018.24 | NCH Philippines Inc. | Operation | Water Treatment | Cooling Tower Basin No. 2
29 | 2020-03-20 |  | CENJO-EM004-20 | CON-CHE_1091 |  | CHEM-AQUA 777 (0424), 20LT/DM, APC, CA | 80 | ltr/s | 328.77 | 26301.6 | NCH Philippines Inc. | Operation | Water Treatment | Cooling Tower Basin No. 2
30 | 2020-03-17 |  | EMF2020-025-M | CON-CHE_1096 |  | Hydrochloric Acid (PH Cleaner), Gal | 1 | gal/s | 200 | 200 | TMVG Multi-Sales, Inc. | Maintenance | Servicing of Fuel Injectors | Running Units
31 | 2020-04-01 |  | ENV20-1046 | CON-CHE_1097 |  | Cleaning Solution, For General Purpose, PN#:H17061L, 500ml | 1 | bot/s | 1200 | 1200 | Guill-Bern Corporation | Environment/PCO | Replacement | pH Meter
32 | 2020-04-01 |  | ENV20-1046 | CON-CHE_1098 |  | Electrode Storage Solution, PN#:H170300M, 230ml | 1 | bot/s | 1300 | 1300 | Guill-Bern Corporation | Environment/PCO | Replacement | pH Meter
33 | 2020-04-01 |  | ENV20-1046 | CON-CHE_1099 |  | pH 7.01 @ 25deg, C Calibration Buffer Sachet, (25pcs x 20ml), PN#:H170007P, | 1 | pack/s | 2300 | 2300 | Guill-Bern Corporation | Environment/PCO | Replacement | pH Meter
34 | 2020-04-01 |  | ENV20-1046 | CON-CHE_1100 |  | pH 10.01 @ 25 deg, C Calibration, Buffer Sachets, (25pcs x 20ml), PN#: H170010P | 1 | pack/s | 2300 | 2300 | Guill-Bern Corporation | Environment/PCO | Replacement | pH Meter
35 | 2020-03-04 |  | OPE20-1195 | CON-CON_1008 |  | Disc, Cutting, 4" x 3/32" x 5/8" | 25 | pc/s | 96.5 | 2412.5 | Visayan Construction Supply | Operation | Operations & Maintenance Consumables | Running Units
36 | 2020-03-06 |  | OPE20-1195 | CON-CON_1010 |  | Disc, Grinding, 4" x 1/4" x 5/8" | 10 | pc/s | 101.85 | 1018.5 | Greenlane Hardware and Construction Supply Inc | Operation | Operations & Maintenance Consumables | Running Units
37 | 2020-03-10 |  | OPE20-1211 | CON-CON_1010 |  | Disc, Grinding, 4" x 1/4" x 5/8" | 10 | pc/s | 101.85 | 1018.5 | Greenlane Hardware and Construction Supply Inc | Operation | Jacket Water Recovery System | Jacket Water System
38 | 2020-03-05 |  | OPE20-1195 | CON-CON_1028 |  | Electrode, Welding, 1/8" x E6011 | 5 | kg/s | 99 | 495 | Visayan Construction Supply | Operation | Operations & Maintenance Consumables | Running Units
39 | 2020-03-05 |  | SPE20-1233 | CON-CON_1029 |  | Electrode, Welding, 1/8" x E6013 | 2 | kg/s | 95 | 190 | Visayan Construction Supply | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
40 | 2020-03-05 |  | OPE20-1195 | CON-CON_1030 |  | Electrode, Welding, 1/8" x E7018 | 3 | kg/s | 99 | 297 | Visayan Construction Supply | Operation | Operations & Maintenance Consumables | Running Units
41 | 2020-03-10 |  | OPE20-1195 | CON-CON_1032 |  | Electrode, Welding, SS 308, 2.4mm | 1 | kg/s | 320 | 320 | Bacolod Triumph Hardware | Operation | Operations & Maintenance Consumables | Running Units
42 | 2020-03-14 |  | HRS20-1078 | CON-CON_1059 |  | Tie Wire, #16 | 2 | kg/s | 65 | 130 | Bacolod Mindanao Lumber and Plywood | Site HR | Repair of Mechanical Staff House at Plant Site | CENPRI Employees
43 | 2020-03-19 |  | OPE20-1182 | CON-CON_1087 |  | Brush, Roller, Refill, 4" | 6 | pc/s | 22 | 132 | Greenlane Hardware and Construction Supply Inc | Operation | Cleaning and Repainting of Raw Water Storage Tank Roof | Raw Water Storage Tank
44 | 2020-03-04 |  | OPE20-1195 | CON-CON_1088 |  | Chalkstone/ Soapstone | 10 | pc/s | 4 | 40 | Greenlane Hardware and Construction Supply Inc | Operation | Operations & Maintenance Consumables | Running Units
45 | 2020-03-11 |  | OPE20-1195 | CON-CON_1094 |  | Filler Rod, Bronze, 1/8" | 1 | kg/s | 590 | 590 | Visayan Construction Supply | Operation | Operations & Maintenance Consumables | Running Units
46 | 2020-03-19 |  | OPE20-1182 | CON-CON_1121 |  | Paint, Primer, Epoxy, Gray, With Catalyst, 4L/gal | 1 | gal/s | 570 | 570 | Bacolod Paint Marketing | Operation | Cleaning and Repainting of Raw Water Storage Tank Roof | Raw Water Storage Tank
47 | 2020-03-11 |  | SPE20-1233 | CON-CON_1124 |  | Rivets, Blind, Aluminum, 1/8" x 3/4" | 3 | box/s | 190 | 570 | Visayan Construction Supply | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
48 | 2020-03-10 |  | SPE20-1233 | CON-CON_1130 |  | Sandpaper, G120 | 20 | sht/s | 14 | 280 | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
49 | 2020-03-04 |  | OPE20-1195 | CON-CON_1131 |  | Sandpaper, G150 | 10 | sht/s | 10 | 100 | Visayan Construction Supply | Operation | Operations & Maintenance Consumables | Running Units
50 | 2020-03-05 |  | OPE20-1195 | CON-CON_1133 |  | Sandpaper, G320 | 10 | sht/s | 10 | 100 | Visayan Construction Supply | Operation | Operations & Maintenance Consumables | Running Units
51 | 2020-03-04 |  | WHC20-1245 | CON-CON_1136 |  | Sandpaper, G600 | 20 | sht/s | 10 | 200 | Visayan Construction Supply | CENPRI Warehouse | Warehouse Consumables - For Cleaning & Preservation of Engine Parts | CENPRI Warehouse Department
52 | 2020-03-11 |  | SPE20-1233 | CON-CON_1138 |  | Sandpaper, G80 | 20 | sht/s | 11 | 220 | Visayan Construction Supply | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
53 | 2020-03-04 |  | EIC20-1199 | CON-CON_1195 |  | Sandpaper, G180 | 5 | sht/s | 10 | 50 | Visayan Construction Supply | EIC | EIC Consumables | Electrical Consumables
54 | 2020-03-04 |  | HAS19-1067 | CON-CON_1231 |  | Drill Bit, Masonry, 1/4" | 1 | pc/s | 41 | 41 | A-One Industrial Sales | Health and Safety | Installation Of Electrical Main Distribution Panel For Auxiliary Load | Power Supply For Canteen, Dorms, Perimeter Lighting, Welding Machine & Guardhouse
55 | 2020-03-14 |  | HRS20-1078 | CON-CON_1252 |  | Sealant, Roof, Pouch | 5 | pack/s | 53 | 265 | A-One Industrial Sales | Site HR | Repair of Mechanical Staff House at Plant Site | CENPRI Employees
56 | 2020-03-04 |  | HAS19-1067 | CON-CON_1287 |  | Drill Bit, Masonry, 1/2" (12mm) | 1 | pc/s | 91 | 91 | A-One Industrial Sales | Health and Safety | Installation Of Electrical Main Distribution Panel For Auxiliary Load | Power Supply For Canteen, Dorms, Perimeter Lighting, Welding Machine & Guardhouse
57 | 2020-03-19 |  | OPE20-1182 | CON-CON_1315 |  | Thinner, Paint, Gal | 1 | gal/s | 240 | 240 | Greenlane Hardware and Construction Supply Inc | Operation | Cleaning and Repainting of Raw Water Storage Tank Roof | Raw Water Storage Tank
58 | 2020-03-18 |  | WHC20-1236 | CON-CON_1315 |  | Thinner, Paint, Gal | 2 | gal/s | 240 | 480 | Greenlane Hardware and Construction Supply Inc | CENPRI Warehouse | Fabrication of 3 Steel Drum Cabinets & 4 Drum Racks (3-Layered) | CENPRI Warehouse Department
59 | 2020-03-04 |  | SPE19-1148 | CON-CON_1317 |  | Bar, Angle, MS, 5mm x 1" x 20 ft | 5 | lgth/s | 422.5 | 2112.5 | Bacolod Triumph Hardware | Special Proj/Facilities Imp | Construction of CENPRI Canteen | Canteen
60 | 2020-03-10 |  | EIC20-1199 | CON-CON_1348 |  | Drill Bit, High Speed Steel, 3/16" | 2 | pc/s | 83.5 | 167 | Greenlane Hardware and Construction Supply Inc | EIC | EIC Consumables | Electrical Consumables
61 | 2020-03-04 |  | OPE20-1195 | CON-CON_1352 |  | Stone, Sharpening, 108 "S" Combination, 8" x 2" x 1" | 1 | pc/s | 120 | 120 | SGS Hardware Corporation | Operation | Operations & Maintenance Consumables | Running Units
62 | 2020-03-10 |  | SPE20-1233 | CON-CON_1353 |  | Skim Coat, Putty, White, 20kg/bag | 2 | bag/s | 460 | 920 | Greenlane Hardware and Construction Supply Inc | Special Proj/Facilities Imp | ECMG Office Renovation | ECMG Office
63 | 2020-03-11 |  | OPE20-1195 | CON-CON_1354 |  | Sandpaper, G240 | 10 | sht/s | 10 | 100 | Visayan Construction Supply | Operation | Operations & Maintenance Consumables | Running Units
64 | 2020-03-14 |  | HRS20-1078 | CON-CON_1355 |  | Nails, For Hardiflex | 2 | kg/s | 99 | 198 | A-One Industrial Sales | Site HR | Repair of Mechanical Staff House at Plant Site | CENPRI Employees
65 | 2020-03-04 |  | EIC20-1199 | CON-EIC_1016 |  | Battery, Snap, 9V | 1 | pc/s | 190 | 190 | New Llacer Electronics & Electrical Supply | EIC | EIC Consumables | Electrical Consumables
66 | 2020-03-04 |  | EIC20-1199 | CON-EIC_1071 |  | Tie, Cable, 4mm x 150mm | 100 | pc/s | 0.38 | 38 | Jast Marketing Co. | EIC | EIC Consumables | Electrical Consumables
67 | 2020-03-04 |  | EIC20-1199 | CON-EIC_1075 |  | Tie, Cable, 5mm x 200mm | 100 | pc/s | 0.77 | 77 | Jast Marketing Co. | EIC | EIC Consumables | Electrical Consumables
68 | 2020-03-18 |  | EIC20-1261 | CON-EIC_1078 |  | Tie, Cable, 8mm x 450mm | 100 | pc/s | 4.67 | 467 | Jast Marketing Co. | EIC | EIC Consumables | Electrical Consumables
69 | 2020-03-07 |  | HAS19-1067 | CON-EIC_1078 |  | Tie, Cable, 8mm x 450mm | 100 | pc/s | 4.67 | 467 | Jast Marketing Co. | Health and Safety | Installation Of Electrical Main Distribution Panel For Auxiliary Load | Power Supply For Canteen, Dorms, Perimeter Lighting, Welding Machine & Guardhouse
70 | 2020-03-04 |  | EIC20-1199 | CON-EIC_1101 |  | Alcohol, Denatured, Gals | 1 | gal/s | 240 | 240 | Visayan Construction Supply | EIC | EIC Consumables | Electrical Consumables
71 | 2020-03-10 |  | EIC20-1040 | CON-EIC_1102 |  | Battery, 12V 100AH, DC, 330mm L, 171mm W, 215mm H, 32kgs, Part No: 6FM100-X | 2 | unit/s | 14000 | 28000 | Poweredge Solutions Phils., Inc | EIC | Spare | 24 & 125 VDC Battery Bank
72 | 2020-03-04 |  | EIC20-1199 | CON-EIC_1122 |  | Drill Bit, 1/4" | 2 | pc/s | 127.25 | 254.5 | Greenlane Hardware and Construction Supply Inc | EIC | EIC Consumables | Electrical Consumables
73 | 2020-03-04 |  | EIC20-1199 | CON-EIC_1125 |  | Battery, AA per pc | 9 | pc/s | 49 | 441 | New Llacer Electronics & Electrical Supply | EIC | EIC Consumables | Electrical Consumables
74 | 2020-03-17 |  | EMF2020-023-E | CON-EIC_1218 |  | Mylar Film #007 | 1 | feet | 185 | 185 | Bacolod Electrical Supply | EIC | Rewinding of Stator Hoist Motor | Overhead Crane
75 | 2020-03-17 |  | EMF2020-023-E | CON-EIC_1220 |  | Mylar Film #3 | 1 | feet | 110 | 110 | Bacolod Electrical Supply | EIC | Rewinding of Stator Hoist Motor | Overhead Crane
76 | 2020-03-12 |  | EIC20-1181 | CON-EIC_1235 |  | Varnish, Insulating, Clear, 1201 | 5 | gal/s | 1500 | 7500 | TMVG Multi-Sales, Inc. | Testing Group | Consumables, Tools and Equipment for Spare Stator Rewinding | Spare Stator
77 | 2020-03-25 |  | WHC20-1265 | CON-FUE_1003 |  | Diesel | 20 | ltr/s | 29.15 | 583 | Sum-ag Petron Gas Station | CENPRI Warehouse | Refuel for Heavy Equipment | Heavy Equipment - Forklift
78 | 2020-03-21 |  | OPE20-1241 | CON-FUE_1008 |  | Omala S2 G 220 | 2 | pail/s | 3401.16 | 6802.32 | VCY Sales Corporation | Operation | Preventive Maintenance For Lube Oil Separator | Running Units
79 | 2020-03-02 |  | EIC20-1199 | CON-HOU_1035 |  | Rags, Cotton | 5 | kg/s | 50 | 250 | Procolors T-Shirts Printing | EIC | EIC Consumables | Electrical Consumables
80 | 2020-03-02 |  | WHC19-1173 | CON-HOU_1035 |  | Rags, Cotton | 10 | kg/s | 50 | 500 | Procolors T-Shirts Printing | CENPRI Warehouse | Maintenance of Common Tools | Maintenance Tools
81 | 2020-03-04 |  | ENV19-1139 | CON-HOU_1037 |  | Sack, Empty | 30 | pc/s | 8 | 240 | Doods Sack Trading | Health and Safety | Environment/Pollution Control Consumables | Environment and Pollution Control
82 | 2020-03-04 |  | EIC20-1199 | CON-HOU_1053 |  | Gloves, Cotton, Rubberized | 8 | pair/s | 41 | 328 | A-One Industrial Sales | EIC | EIC Consumables | Electrical Consumables
83 | 2020-03-04 |  | ENV19-1045 | CON-HOU_1059 |  | Soap, Special Powder | 5 | kg/s | 34 | 170 | Bacolod Pro Sanicleaners Supply Center Inc. | EIC | For Environment Department Use. | Environment and Pollution Control
84 | 2020-03-04 |  | EIC19-1156 | CON-HOU_1068 |  | Stretch Film, 18micron x 500mm (20") x 300mtr | 1 | roll/s | 659.75 | 659.75 | Ace Hardware Philippines, Inc. - Bacolod Branch | EIC | EIC Consumables | Electrical Consumables
85 | 2020-03-17 |  | ADM20-1088 | CON-HOU_1069 |  | Soap, Liquid, Hand Washing, 450ml | 1 | bot/s | 148.75 | 148.75 | Puregold Libertad | Site HR | To Prevent Spreading of Viruses and Bacteria in the Workplace | CENPRI Employees
86 | 2020-03-03 |  | ADM20-1075 | CON-MED_1010 |  | Alcohol, Isopropyl, 70% Solution, 500ml | 7 | bot/s | 71.1 | 497.7 | Negros Grace Pharmacy | Bacolod HR | To Prevent Spreading of Viruses and Bacteria in the Workplace | CENPRI Employees
87 | 2020-03-14 |  | ADM20-1084 | CON-MED_1010 |  | Alcohol, Isopropyl, 70% Solution, 500ml | 2 | bot/s | 85 | 170 | Negros Bright Sun Trading | Site HR | To Prevent Spreading of Viruses and Bacteria in the Workplace | CENPRI Employees
88 | 2020-03-18 |  | FRM-RCT | CON-MED_1013 |  | B-Complex, Super, 500 tabs/bot | 2 | bot/s | 0 | 0 | Donated by Sir RCT | Site HR | First Aid Treatment/Medication | CENPRI Employees
89 | 2020-03-04 |  | WHC19-1173 | CON-OFF_1055 |  | Marker, Metal, White | 1 | pc/s | 360 | 360 | Visayan Construction Supply | CENPRI Warehouse | Maintenance of Common Tools | Maintenance Tools
90 | 2020-03-05 |  | H2O2020-0305 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
91 | 2020-03-10 |  | H2O2020-0310 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
92 | 2020-03-13 |  | H2O2020-0313 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
93 | 2020-03-18 |  | H2O2020-0318 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
94 | 2020-03-21 |  | H2O2020-0321 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
95 | 2020-03-27 |  | H2O2020-0327 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
96 | 2020-04-02 |  | H2O2020-0402 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
97 | 2020-04-07 |  | H2O2020-0407 | CON-OFF_1090 |  | Water, Drinking, Purified, 5 Gallons, Round Type Container | 50 | cont/s | 20 | 1000 | Marhil Spring | Site HR | Hydration | CENPRI Employees
98 | 2020-03-05 |  | H2O2020-0305 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 3 | cont/s | 20 | 60 | Marhil Spring | Site HR | Hydration | CENPRI Employees
99 | 2020-03-10 |  | H2O2020-0310 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 2 | cont/s | 20 | 40 | Marhil Spring | Site HR | Hydration | CENPRI Employees
100 | 2020-03-13 |  | H2O2020-0313 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 2 | cont/s | 20 | 40 | Marhil Spring | Site HR | Hydration | CENPRI Employees
101 | 2020-03-18 |  | H2O2020-0318 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 3 | cont/s | 20 | 60 | Marhil Spring | Site HR | Hydration | CENPRI Employees
102 | 2020-03-27 |  | H2O2020-0327 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 5 | cont/s | 20 | 100 | Marhil Spring | Site HR | Hydration | CENPRI Employees
103 | 2020-04-02 |  | H2O2020-0402 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 1 | cont/s | 20 | 20 | Marhil Spring | Site HR | Hydration | CENPRI Employees
104 | 2020-04-07 |  | H2O2020-0407 | CON-OFF_1091 |  | Water, Drinking, Purified, 5 Gallons, Slim Type Container | 2 | cont/s | 20 | 40 | Marhil Spring | Site HR | Hydration | CENPRI Employees
105 | 2020-03-26 |  | ADM20-1096 | CON-STA_1002 |  | LPG, Gasulito | 1 | cyl/s | 512 | 512 | Pos Gasul Negros Occidental INC. | Site HR | Staff House Use | Staffhouse 2 - Jara
106 | 2020-03-26 |  | ADM20-1097 | CON-STA_1005 |  | LPG, Petronas, 11 kg | 1 | cyl/s | 793 | 793 | CTMJ Gases Supply | Site HR | Staff House Use | Staffhouse 1 - Site
107 | 2020-03-06 |  | EIC20-1042 | EIC-PAR_1500 |  | Terminal Lug, Copper, 100mm2, Long Barrel, 1 hole x 1/2", BBLU-4/0S | 14 | pc/s | 235.6 | 3298.4 | Zenith United Electric Corporation | EIC | Consumables, Tools and Equipment for Spare Stator Rewinding | Spare Stator
108 | 2020-03-06 |  | EIC20-1042 | EIC-PAR_1501 |  | Tube, copper, Soft Drawn 3/4" - 0.028 (19mm) x 15mtr per roll | 1 | roll/s | 3560 | 3560 | NNE Electrotrading Inc. | EIC | Consumables, Tools and Equipment for Spare Stator Rewinding | Spare Stator
109 | 2020-03-10 |  | HAS19-1067 | EIC-PAR_1502 |  | Distribution Panel, 300A, 3P, Bolt on Type, 440V/230V, Wall Mounted, 16 Branches of CB | 1 | set/s | 34512 | 34512 | Jast Marketing Co. | Health and Safety | Installation Of Electrical Main Distribution Panel For Auxiliary Load | Power Supply For Canteen, Dorms, Perimeter Lighting, Welding Machine & Guardhouse
110 | 2020-04-01 |  | EIC20-1045 | EIC-PAR_1503 |  | Cable, PVC Control, 1.0 mm? x 25G (24Conductors + 1 Ground), 300/500V, Catalog: 10078 | 45 | mtr/s | 390 | 17550 | Alpha Pacific Electric Co., Inc | EIC | Replacement | DG4
111 | 2020-03-10 |  | MAI20-1229 | ENG-PIE_1028 |  | Hydraulic Hose, 3/8" NPT - ID x 23" Long, 18 MPA, 100 Deg Celsuis | 50 | pc/s | 529 | 26450 | Hydrauking Industrial Corp. | Maintenance | Replacement | Running Units - Pielstick
112 | 2020-03-10 |  | MAI20-1228 | ENG-PIE_1029 |  | Hydraulic Hose, 3/8" NPT - ID x 24" Long, 18 MPA, 100 Deg Celsuis | 48 | pc/s | 536 | 25728 | Hydrauking Industrial Corp. | Maintenance | Replacement | Running Units - Sulzer
113 | 2020-03-03 |  | SPE19-1065 | FFE-FUR_1002 |  | Chair, Monoblock, Plastic, Black | 8 | pc/s | 435 | 3480 | Ravson Enterprises | Special Proj/Facilities Imp | Construction of CENPRI Canteen | CENPRI Employees
114 | 2020-03-07 |  | SPE20-1224 | FFE-STA_1006 |  | Tank, Portable, Water Storage, PVC, Color Blue, 1000 Liters, Bestank | 1 | pc/s | 12999.75 | 12999.75 | A.M. Builders Depot | Special Proj/Facilities Imp | Water System For Canteen & Ladies Dorm | Canteen and Ladies Dorm
115 | 2020-03-04 |  | MAI19-1086 | TOO-HAN_1036 |  | Hand Tap, 12mm x 1.75 Pitch | 2 | set/s | 480 | 960 | Golden Gate Hardware | Maintenance | Replacement | Maintenance Tools
Prepared By: |  |  | Checked By: |  | Approved By:
Warehouse Personnel |  |  | Warehouse Supervisor |  | Plant Director/Plant Manager