## Worksheet
|  | CENTRAL NEGROS POWER RELIABILITY, INC. | [5 empty] | MATERIAL INVENTORY REPORT TO DATE
Purok San Jose, Brgy. Calumangan, Bago City
Tel. No. 476 - 7382
Date | 2020-05-13
Main Category |  | Electrical, Instrumentation and Control |  |  | Sub-Category | EIC Parts and Accessories
No. | Local/Manila |  |  | Item Part No. | Item Description |  | Nominal Cost | Qty | Minimum Order Qty | Uom | Location | Warehouse Location | Rack | Bin
1 | Local |  |  | EIC-PAR_1028 | Breaker, Circuit, 400V, 1C60N, 25A, 2 Phase |  | 0 | 0 | 0 | pc/s
2 | Local |  |  | EIC-PAR_1031 | Breaker, Circuit, 400V, C25, 2 Phase |  | 0 | -1 | 0 | pc/s
3 | Local |  |  | EIC-PAR_1049 | Connector, Straight, Rigid Conduit, LTFMC, 1" dia. |  | 0 | 59 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A3
4 | Local |  |  | EIC-PAR_1051 | Connector, Straight, Rigid Conduit, LTFMC, 1/2" dia. |  | 29.1 | 0 | 0 | pc/s
5 | Local |  |  | EIC-PAR_1052 | Connector, Straight, Rigid Conduit, LTFMC, 3/4" dia. |  | 42.25 | 0 | 0 | pc/s
6 | Local |  |  | EIC-PAR_1065 | Coupling, Rigid Steel Conduit, 1-1/2" |  | 19.5 | 0 | 0 | pc/s
7 | Local |  |  | EIC-PAR_1078 | Insulation, Tube, Spaghetti, 1/8" |  | 9.5 | 0 | 0 | mtr/s
8 | Local |  |  | EIC-PAR_1086 | Outlet, Convenience, 2 Gang |  | 31 | 0 | 0 | pc/s
9 | Local |  |  | EIC-PAR_1090 | Pipe, Rigid Steel Conduit, 1" |  | 214.5 | 0 | 0 | lgth/s
10 | Local |  |  | EIC-PAR_1091 | Pipe, Rigid Steel Conduit, 1/2" |  | 66.5 | 0 | 0 | lgth/s
11 | Local |  |  | EIC-PAR_1101 | Relay, 5A, 240VAC/28VDC, 8-Pin |  | 0 | 31 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A4
12 | Local |  |  | EIC-PAR_1110 | Conduit Body, Rigid, Type LL, 1/2" dia. |  | 0 | 13 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A2
13 | Local |  |  | EIC-PAR_1111 | Conduit Body, Rigid, Type LL, 1/2" dia. |  | 0 | 2 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A2
14 | Local |  |  | EIC-PAR_1125 | Socket Adapter, Light Bulb - Plug Outlet, 125V, 660W |  | 0 | 1 | 0 | pc/s | WH - Rm1 | CENPRI | Rack - A3
15 | Local |  |  | EIC-PAR_1130 | Socket, Relay, Din Rail, Round, 10A, 250V, 8-Pin |  | 0 | 12 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A4
16 | Local |  |  | EIC-PAR_1137 | Socket, Rubberized |  | 20.8 | 0 | 0 | pc/s
17 | Local |  |  | EIC-PAR_1146 | Switch, Pressure, Type 903.2381.907, IP65, Pmax:40bar, 250VAC/30VDC, 15(1.5)A |  | 0 | 3 | 0 | unit/s | WH - Rm3 | CENPRI | Rack - A4
18 | Local |  |  | EIC-PAR_1148 | Switch, Pressure, Type 900.2381.907, IP65, Pmax:40bar, 250VAC/30VDC, 15(1.5)A |  | 0 | 4 | 0 | unit/s | WH - Rm3 | CENPRI | Rack - A4
19 | Local |  |  | EIC-PAR_1174 | Terminal Lug, Ring, Stud Size #4 |  | 30.3333 | 10 | 0 | pc/s
20 | Local |  |  | EIC-PAR_1192 | Terminal Lug, Ring, Long Barrel, Stud Size 5/8", 1000MCM |  | 1116.26 | 1 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A3
21 | Local |  |  | EIC-PAR_1219 | Box, Junction, PVC, Hexagonal, 4" x 4", gauge 4 mm, White |  | 0 | 4 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A4
22 | Local |  |  | EIC-PAR_1243 | Connector, Copper Compression, Standard Barrel, 250 MCM, Yellow |  | 92.5 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A3
23 | Local |  |  | EIC-PAR_1256 | Connector, Grounding, Split Bolt, 1 AWG (Str) - 250 kcmil (Run & Tap) |  | 0 | 11 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A3
24 | Local |  |  | EIC-PAR_1287 | Grounding Rod, Copper Coated, 5/8" x 8 feet |  | 580.5 | 2 | 0 | lgth/s | WH - Rm3 | CENPRI | Rack - O1
25 | Local |  |  | EIC-PAR_1296 | Insulator, Post, Porcelain, 15KV |  | 3219 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - E2
26 | Local |  |  | EIC-PAR_1301 | Ground Rod, Copper Bonded, 5/8" dia x 10 ft, Unthreaded Standard Series (256 Micron) |  | 1286.5 | 0 | 0 | lgth/s | WH - Rm3 | CENPRI
27 | Local |  |  | EIC-PAR_1304 | Bolt, SS, Full Thread, Complete, M8 x 2" |  | 15 | 0 | 0 | set/s | WH - Rm3 | CENPRI | Rack - E2
28 | Local |  |  | EIC-PAR_1307 | Box, Junction, PVC, Hexagonal, 4" x 4", gauge 4 mm, Orange |  | 15.3333 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A4
29 | Local |  |  | EIC-PAR_1310 | Conduit Body, Rigid, Type LB, 1/2" dia. |  | 0 | 15 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A2
30 | Local |  |  | EIC-PAR_1311 | THHN/ THWN-2,Lead Free, 3.5mm? STR, 600 V, 30 Amperes, 90deg Wet or Dry, Red |  | 20.63 | 0 | 0 | mtr/s | WH - Rm1 | CENPRI | Rack - O3
31 | Local |  |  | EIC-PAR_1312 | Adapter, MxF, PVC, 1/2 inch, W/ Lock Nut |  | 8.25 | 0 | 0 | pc/s | WH - Rm1 | CENPRI | Rack - O2
32 | Local |  |  | EIC-PAR_1313 | Control Relay, Three-Phase Voltage, 380-480V |  | 2026 | 0 | 0 | unit/s | WH - Rm1 | CENPRI
33 | Local |  |  | EIC-PAR_1314 | Block, Time Delay, 0.1 sec - 30 sec, 10 A, 690 V, LADT2 |  | 0 | 1 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A4
34 | Local |  |  | EIC-PAR_1315 | Box, Pull, PVC, 6" x 6" |  | 80 | 0 | 0 | pc/s | WH - Rm1 | CENPRI
35 | Local |  |  | EIC-PAR_1321 | SD Card, Sandisk, Ultra SDHC, 16GB, UHS1 48MBPS |  | 500 | 0 | 0 | pc/s | WH - Rm1 | CENPRI
36 | Local |  |  | EIC-PAR_1324 | Relay, Auxiliary with Socket, 10A, 250Vac, 10A, 30Vdc, 11 Pins, 3PDT, Coil: 24Vdc |  | 580.3333 | 0 | 0 | pc/s | WH - Rm1 | CENPRI
37 | Local |  |  | EIC-PAR_1390 | Terminal Lug, Y-Type, Size (14-12) |  | 7.5 | 0 | 0 | pc/s |  | CENPRI
38 | Local |  |  | EIC-PAR_1394 | Box, Junction With Cover, PVC, Hexagonal, 4.5" x 4.5", Orange |  | 60 | 0 | 0 | pc/s | WH - Rm3 | CENPRI
39 | Local |  |  | EIC-PAR_1398 | Cable Tray, Ladder Type, Galvanized, Gauge 16, 300mm x 2438mm long w/ cover. |  | 8400 | 0 | 0 | pc/s
40 | Local |  |  | EIC-PAR_1399 | Wire Duct, 3" x 3" x 8ft long |  | 700 | 0 | 0 | lgth/s
41 | Local |  |  | EIC-PAR_1409 | Terminal Eye, Non-Insulated, 22-10 |  | 14 | 0 | 0 | pc/s | WH - Rm3 | CENPRI
42 | Local |  |  | EIC-PAR_1410 | Clip, Aligator |  | 31.25 | 0 | 0 | pc/s
43 | Local |  |  | EIC-PAR_1416 | THHN Copper Wire, 22mm?, Red |  | 123.5 | 0 | 0 | mtr/s
44 | Local |  |  | EIC-PAR_1417 | Terminal Lug, Pin Type, AWG, 1.25 |  | 2.97 | 0 | 0 | pc/s
45 | Local |  |  | EIC-PAR_1418 | Terminal Lug, Pin Type, #18-20 |  | 2.97 | 0 | 0 | pc/s
46 | Local |  |  | EIC-PAR_1419 | THHN Wire, 3.5mm?, 12 Stranded |  | 18.995 | 0 | 0 | mtr/s | WH - Rm3 | CENPRI
47 | Local |  |  | EIC-PAR_1422 | Bulb, Pilot, 5W, 125VDC |  | 15 | 0 | 0 | pc/s
48 | Local |  |  | EIC-PAR_1423 | Bulb, Pilot, 5W, 125VAC |  | 70 | 0 | 0 | pc/s
49 | Local |  |  | EIC-PAR_1425 | Blower, Fan, (Cooling Fan), 12 x 12cm |  | 406 | 0 | 0 | pc/s
50 | Local |  |  | EIC-PAR_1429 | Emergency Stop Bottom |  | 120 | 0 | 0 | pc/s
51 | Local |  |  | EIC-PAR_1434 | Solenoid Valve, Shutdown, 24VDC |  | 750 | 0 | 0 | pc/s
52 | Local |  |  | EIC-PAR_1439 | Switch, Heavy Duty w/ Plate, Wall Mounted, Plastic, 1 Gang |  | 98 | 0 | 0 | set/s | WH - Rm3 | CENPRI
53 | Local |  |  | EIC-PAR_1440 | Fan, Motor Blade |  | 225 | 0 | 0 | pc/s
54 | Local |  |  | EIC-PAR_1441 | Breaker, Circuit, 230/400V, C30, Single Phase |  | 295 | 0 | 0 | pc/s
55 | Local |  |  | EIC-PAR_1456 | Bridge Rectifier, KBPC3501 |  | 120 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A3
56 | Local |  |  | EIC-PAR_1458 | Conduit, LTFMC 1/2", Flexible Pipe |  | 62 | 0 | 0 | mtr/s | WH - Rm3 | CENPRI | Rack - A4
57 | Local |  |  | EIC-PAR_1459 | Conduit, LTFMC 1", Flexible Pipe |  | 134 | 0 | 0 | mtr/s | WH - Rm3 | CENPRI | Rack - A4
58 | Local |  |  | EIC-PAR_1464 | Distribution Circuit Breaker 50A, 8 Branches, 3P, Panel |  | 6790 | 0 | 0 | pc/s
59 | Local |  |  | EIC-PAR_1465 | Connector, Conduit, Adapter, w/ Locknut, UPVC, 1" |  | 16.5 | 18 | 0 | pc/s | WH - Rm3 | CENPRI | Side Wall
60 | Local |  |  | EIC-PAR_1467 | Outlet, Convenience, 3 Gang, w/ Cover & Plate |  | 285 | 0 | 0 | set/s
61 | Local |  |  | EIC-PAR_1468 | Control, Box |  | 0 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - B1
62 | Local |  |  | EIC-PAR_1485 | Terminal Lug, Ring, Stud Size, (2-5) |  | 3 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - C1
63 | Local |  |  | EIC-PAR_1486 | Terminal Lug, Ring, Stud Size (1.25-4) |  | 2 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - C1
64 | Local |  |  | EIC-PAR_1487 | THHN Wire, 14mm |  | 0 | 0 | 0 | mtr/s | WH - Rm3 | CENPRI | Rack - C1
65 | Local |  |  | EIC-PAR_1488 | Outlet, Universal, 2 Gang |  | 138.75 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - D2
66 | Local |  |  | EIC-PAR_1489 | Meter, Electronic Energy, Single Phase, 2 Wire, 220 - 240V, 10 (60)A, Sub Meter |  | 1000 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - A4
67 | Local |  |  | EIC-PAR_1491 | Breaker, Circuit, 50A, 3P, 220-240V, Bolt-on Type, GE, w/o Enclosure |  | 1865 | 0 | 0 | set/s | WH - Rm3 | CENPRI | Rack - D1
68 | Local |  |  | EIC-PAR_1492 | Breaker, Circuit, 15A, 2P, 220-240V, Bolt-on Type, GE, w/o Enclosure |  | 670 | 0 | 0 | set/s | WH - Rm3 | CENPRI | Rack - D1
69 | Local |  |  | EIC-PAR_1493 | Breaker, Circuit, 30A, 2P, 220-240V, Bolt-on Type, GE, w/o Enclosure |  | 670 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - D1
70 | Local |  |  | EIC-PAR_1495 | Terminal Clamp, Battery |  | 45 | 0 | 0 | pc/s | WH - Rm3 | CENPRI | Rack - D1
71 | Local |  |  | EIC-PAR_1502 | Distribution Panel, 300A, 3P, Bolt on Type, 440V/230V, Wall Mounted, 16 Branches of CB |  | 34512 | 0 | 0 | set/s | WH - Rm3 | CENPRI
Prepared By: |  |  | Checked By: |  | Approved By:
Warehouse Personnel |  |  | Warehouse Supervisor |  | Plant Director/Plant Manager